## raw data
15.07.21 GC-MS Measurement
PE_C from 09.07.21, C_Std and R_Std from 27.06.21 | [14 empty] | PE_C | init Conc |  | porewater vol.
Method: PCE_T-Ramp_DHSI_SIM |  | Integration by | [12 empty] | Samples | PCE [ppm] | PFOA [ppm] | added init [ml]
Injection vol. 50ul |  | ChemStation | [12 empty] | PE_C_PCE_15.07.21_1.1 | 0 | 0 | 8
|  | m/z 95 |  | m/z 150 |  | m/z 152 |  | m/z 164 |  |  | m/z 166 |  |  | Theoret. Init. Conc | PE_C_PCE_15.07.21_1.2 | 2.5 | 12.5 | 8
Run no. | Sample ID | RT | SIM_95 | RT | SIM_150 | RT | SIM_152 | RT | SIM_164 | SIM_164_auto | RT | SIM_166 | SIM_166_auto | aq. | PE_C_PCE_15.07.21_1.3 | 2.5 | 12.5 | 8
1 | PE_C_PCE_15.07.21_empty | [13 empty] | PE_C_PCE_15.07.21_1.4 | 2.5 | 12.5 | 8
2 | PE_C_PCE_15.07.21_Blk.1 | 3.553 | 916718 | 13.152 | 542544 | 13.152 | 346254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PE_C_PCE_15.07.21_2.1 | 0 | 0 | 6
3 | PE_C_PCE_15.07.21_Blk.2 | 3.558 | 1309489 | 13.153 | 590909 | 13.154 | 378208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PE_C_PCE_15.07.21_2.2 | 2.5 | 12.5 | 6
4 | PE_C_PCE_15.07.21_C_Std_2.1 | 3.561 | 1148292 | 13.154 | 605417 | 13.155 | 384135 | 6.978 | 0 | 35094 | 6.98 | 0 | 43709 | 0.1 | PE_C_PCE_15.07.21_2.3 | 2.5 | 12.5 | 6
5 | PE_C_PCE_15.07.21_C_Std_2.2 | 3.56 | 1199525 | 13.154 | 627937 | 13.154 | 400258 | 6.978 | 0 | 34572 | 6.979 | 0 | 45897 | 0.1 | PE_C_PCE_15.07.21_2.4 | 2.5 | 12.5 | 6
6 | PE_C_PCE_15.07.21_C_Std_3.1 | 3.559 | 1422465 | 13.154 | 687693 | 13.154 | 431228 | 6.977 | 0 | 171596 | 6.979 | 217080 | 218103 | 0.5 | PE_C_PCE_15.07.21_3.1 | 0 | 0 | 6
7 | PE_C_PCE_15.07.21_C_Std_3.2 | 3.559 | 1476700 | 13.154 | 609976 | 13.155 | 394569 | 6.977 |  | 167459 | 6.978 | 218103 | 221592 | 0.5 | PE_C_PCE_15.07.21_3.2 | 2.5 | 12.5 | 6
8 | PE_C_PCE_15.07.21_C_Std_4.1 | 3.558 | 1319552 | 13.154 | 627062 | 13.155 | 406082 | 6.978 | 318878 | 323230 | 6.978 | 408045 | 409941 | 1 | PE_C_PCE_15.07.21_3.3 | 2.5 | 12.5 | 6
9 | PE_C_PCE_15.07.21_C_Std_4.2 | 3.555 | 1193771 | 13.154 | 670760 | 13.154 | 429532 | 6.975 | 302456 | 305663 | 6.976 | 391072 | 393500 | 1 | PE_C_PCE_15.07.21_3.4 | 2.5 | 12.5 | 6
10 | PE_C_PCE_15.07.21_1.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | PE_C_PCE_15.07.21_1.2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.98 | 329247 | 331145 | 6.981 | 342954 | 379614
12 | PE_C_PCE_15.07.21_1.2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.971 | 265905 | 267774 | 6.972 | 346506 | 347232
13 | PE_C_PCE_15.07.21_Blk.3 | 3.548 | 1746286 | 13.153 | 661560 | 13.154 | 421769 | 0 | 0 | 0 | 0 | 0 | 0
14 | PE_C_PCE_15.07.21_1.3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.966 | 250315 | 253787 | 6.967 | 320047 | 322619
15 | PE_C_PCE_15.07.21_1.3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.963 | 262372 | 263366 | 6.964 | 335754 | 337578
16 | PE_C_PCE_15.07.21_1.4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.957 | 255814 | 258103 | 6.958 | 325153 | 328680
17 | PE_C_PCE_15.07.21_1.4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.953 | 265080 | 267778 | 6.954 | 337632 | 338609
18 | PE_C_PCE_15.07.21_2.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | PE_C_PCE_15.07.21_2.2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.951 | 0 | 39839 | 6.952 | 0 | 51443
20 | PE_C_PCE_15.07.21_2.3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.95 | 0 | 46678 | 6.951 | 0 | 57424
21 | PE_C_PCE_15.07.21_2.4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.953 | 0 | 40566 | 6.954 | 0 | 52605
16.07.21 GC-MS Measurement
PE_C from 09.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM |  | Integration by
Injection vol. 50ul |  | ChemStation
|  | m/z 95 |  | m/z 150 |  | m/z 152 |  | m/z 164 |  |  | m/z 166 |  |  | Theoret. Init. Conc
Run no. | Sample ID | RT | SIM_95 | RT | SIM_150 | RT | SIM_152 | RT | SIM_164 | SIM_164_auto | RT | SIM_166 | SIM_166_auto | aq.
1 | PE_C_PCE_16.07.21_Blk.0 | 3.544 | 920865 | 13.151 | 394976 | 13.151 | 251363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | PE_C_PCE_16.07.21_Blk.1 | 3.557 | 1433978 | 13.153 | 947039 | 13.154 | 597745 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | PE_C_PCE_16.07.21_C_Std_2.1 | 3.561 | 1239870 | 13.154 | 686637 | 13.155 | 435189 | 0 | 0 | 0 | 6.979 | 0 | 40054 | 0.1
4 | PE_C_PCE_16.07.21_C_Std_2.2 | 3.558 | 1591243 | 13.154 | 865187 | 13.155 | 559954 | 6.977 | 0 | 39850 | 6.978 | 0 | 47478 | 0.1
5 | PE_C_PCE_16.07.21_C_Std_3.1 | 3.557 | 1818606 | 13.155 | 829990 | 13.156 | 535334 | 6.977 |  | 195027 | 6.978 | 245292 | 250729 | 0.5
6 | PE_C_PCE_16.07.21_C_Std_3.2 | 3.559 | 2063584 | 13.154 | 928185 | 13.155 | 594986 | 6.977 | 216956 | 218155 | 6.979 | 274487 | 278296 | 0.5
7 | PE_C_PCE_16.07.21_C_Std_4.1 | 3.56 | 1845374 | 13.155 | 1101833 | 13.155 | 705963 | 6.979 | 439729 | 441585 | 6.979 | 562767 | 563189 | 1
8 | PE_C_PCE_16.07.21_C_Std_4.2 | 3.562 | 2114307 | 13.155 | 988806 | 13.156 | 637142 | 6.981 | 485255 | 478715 | 6.982 | 635811 | 638327 | 1
9 | PE_C_PCE_16.07.21_Blk.2 | 3.558 | 2129997 | 13.155 | 986239 | 13.155 | 621055 | 0 | 0 | 0 | 0 | 0 | 0
10 | PE_C_PCE_16.07.21_2.1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | PE_C_PCE_16.07.21_2.2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.974 | 0 | 53470 | 6.976 | 0 | 67077
12 | PE_C_PCE_16.07.21_2.3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.975 | 0 | 59062 | 6.977 | 0 | 77765
13 | PE_C_PCE_16.07.21_2.4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.975 | 0 | 32193 | Low - Repeat?
14 | PE_C_PCE_16.07.21_3.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.976 | 0 | 56024 | 6.977 | 0 | 69765
15 | PE_C_PCE_16.07.21_3.1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.97 | 0 | 52797 | 6.971 | 0 | 66729
16 | PE_C_PCE_15607.21_3.2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.969 | 359390 | 361110 | 6.971 | 464051 | 467353
17 | PE_C_PCE_16.07.21_3.2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.967 | 368063 | 370209 | 6.969 | 476415 | 479265
18 | PE_C_PCE_16.07.21_Blk.3 | 3.547 | 2117137 | 13.154 | 1976925 | 13.154 | 1275257 | 0 | 0 | 0 | 0 | 0 | 0
19 | PE_C_PCE_16.07.21_3.3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.969 | 334293 | 336171 | 6.971 | 429428 | 430853
20 | PE_C_PCE_16.07.21_3.3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.383 | 396058 | 397618 | 6.384 | 507573 | 510648 | Early Injected
21 | PE_C_PCE_16.07.21_3.4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 6.958 | 330133 | 332039 | 6.959 | 419243 | 421836
22 | PE_C_PCE_16.07.21_3.4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 6.958 | 319686 | 320872 | 6.959 | 414545 | 415628
23 | PE_C_PCE_16.07.21_3.3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 6.966 | 250974 | 264994 | 6.966 | 299817 | 311032

## 1st processing
15.07.21 GC-MS Measurement |  |  | From DTSC | H [Pa*m^3/mol] | K_H | Henry K_H | 0.59867 | [16 empty] | Gas Volume | Clay-soil | Core top | Core bottom |  |  |  |  | Average DTSC report |  |  |  | Theoretical | Linear | f_oc = 0.0285 |  | f_oc=0.0953 |  | f_oc=0.0082
PE_C from 09.07.21, C_Std and R_Std from 27.06.21 |  |  | Report | 1175 | 0.47402 | [19 empty] | Soil 1 | Soil 2 | Soil 3 | [6 empty] | K_oc |  |  | C_aq [ppm] | C_s [ppm]
Method: PCE_T-Ramp_DHSI_SIM |  |  |  | 1793 | 0.72333 | [18 empty] | Bulk density [g/ml] | 1.0716 | 0.80162 | 1.3257 | [5 empty] | f_oc | Minimum | Maximum |  |  | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum
Injection vol. 50ul |  |  | Mean | 1484 | 0.59867 |  | Calibration Standards | Area |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. | [9 empty] | Mass soil [g] | 20 | 20 | 20 |  |  |  | clay | Soil 1 | 2.85 | 66 | 437 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Theoret Conc | Measured Signal area |  |  |  | GC-MS meas. Single | SIM_166 | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] | [9 empty] | Bulk Vol soil [ml] | 18.6639 | 24.9496 | 15.0861 |  |  |  | O horizon | Soil 2 | 9.53 | 66 | 437 |  | 0.05 | 0.09405 | 0.62273 | 0.31449 | 2.0823 | 0.02706 | 0.17917
Run no. | Sample ID | aq [ppm] | SIM_166 | SIM_166_auto |  | 2021-07-15 | PE_C_PCE_15.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | Solid density [g/ml] | 2.65 | 2.38 | 2.65 |  |  |  | Sand | Soil 3 | 0.82 | 66 | 437 |  | 0.1 | 0.1881 | 1.2455 | 0.62898 | 4.1646 | 0.05412 | 0.35834
1 | PE_C_PCE_15.07.21_empty | [5 empty] | PE_C_PCE_15.07.21_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | Volume Solid [ml] | 7.5472 | 8.4034 | 7.5472 | [9 empty] | 0.15 | 0.28215 | 1.8682 | 0.94347 | 6.2469 | 0.08118 | 0.53751
2 | PE_C_PCE_15.07.21_Blk.1 | 0 | 0 | 0 |  |  | PE_C_PCE_15.07.21_Blk.3 |  |  | 0 | 0 | 0 | 0 | 0 | [9 empty] | Pore volume [ml] | 11.1167 | 16.5462 | 7.5389 |  |  |  |  | K_d | Kd=Cs/Caq |  |  |  | 0.2 | 0.3762 | 2.4909 | 1.258 | 8.3292 | 0.10824 | 0.71668
3 | PE_C_PCE_15.07.21_Blk.2 | 0 | 0 | 0 |  |  | PE_C_PCE_15.07.21_C_Std_2.1 | 0 | 43709 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | [9 empty] | Porosity [%] | 59.5628 | 66.3187 | 49.9726 |  |  |  |  | Soil 1 | 1.881 | 1.881 | 12.4545 |  | 0.25 | 0.47025 | 3.1136 | 1.5724 | 10.4115 | 0.1353 | 0.89585
4 | PE_C_PCE_15.07.21_C_Std_2.1 | 0.1 | 0 | 43709 |  |  | PE_C_PCE_15.07.21_C_Std_2.2 | 0 | 45897 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | [17 empty] | Soil 2 | 6.2898 | 6.2898 | 41.6461 |  | 0.3 | 0.5643 | 3.7364 | 1.8869 | 12.4938 | 0.16236 | 1.075
5 | PE_C_PCE_15.07.21_C_Std_2.2 | 0.1 | 0 | 45897 |  |  | PE_C_PCE_15.07.21_C_Std_3.1 | 217080 | 218103 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | [9 empty] | Total vol vial [ml] | 120 | 120 | 120 |  |  |  |  | Soil 3 | 0.5412 | 0.5412 | 3.5834 |  | 0.35 | 0.65835 | 4.3591 | 2.2014 | 14.5761 | 0.18942 | 1.2542
6 | PE_C_PCE_15.07.21_C_Std_3.1 | 0.5 | 217080 | 218103 |  |  | PE_C_PCE_15.07.21_C_Std_3.2 | 218103 | 221592 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | [9 empty] | Porewater vol [ml] | 8 | 6 | 6 | [9 empty] | 0.4 | 0.7524 | 4.9818 | 2.5159 | 16.6584 | 0.21648 | 1.4334
7 | PE_C_PCE_15.07.21_C_Std_3.2 | 0.5 | 218103 | 221592 |  |  | PE_C_PCE_15.07.21_C_Std_4.1 | 408045 | 409941 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 | [9 empty] | Gas volume [ml] | 104.4528 | 105.5966 | 106.4528 | [9 empty] | 0.45 | 0.84645 | 5.6045 | 2.8304 | 18.7407 | 0.24354 | 1.6125
8 | PE_C_PCE_15.07.21_C_Std_4.1 | 1 | 408045 | 409941 |  |  | PE_C_PCE_15.07.21_C_Std_4.2 | 391072 | 393500 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 | [17 empty] | Source | K_oc |  |  |  | 0.5 | 0.9405 | 6.2273 | 3.1449 | 20.823 | 0.2706 | 1.7917
9 | PE_C_PCE_15.07.21_C_Std_4.2 | 1 | 391072 | 393500 | [27 empty] | Chemspider- EPISuite | 106.8 |  |  |  | 0.55 | 1.0346 | 6.85 | 3.4594 | 22.9054 | 0.29766 | 1.9709
10 | PE_C_PCE_15.07.21_1.1.1 | 0 | 0 | 0 | [27 empty] | EPA-Calculated | 155 |  |  |  | 0.6 | 1.1286 | 7.4727 | 3.7739 | 24.9877 | 0.32472 | 2.15
11 | PE_C_PCE_15.07.21_1.2.1 |  | 342954 | 379614 | [27 empty] | EPA-Measured | 265 |  |  |  | 0.65 | 1.2227 | 8.0954 | 4.0884 | 27.07 | 0.35178 | 2.3292
12 | PE_C_PCE_15.07.21_1.2.2 |  | 346506 | 347232 | [27 empty] | DTSC-report range-min | 66 |  |  |  | 0.7 | 1.3167 | 8.7181 | 4.4029 | 29.1523 | 0.37884 | 2.5084
13 | PE_C_PCE_15.07.21_Blk.3 | 0 | 0 | 0 | [27 empty] | DTSC-report range-max | 437 |  |  |  | 0.75 | 1.4107 | 9.3409 | 4.7173 | 31.2346 | 0.4059 | 2.6875
14 | PE_C_PCE_15.07.21_1.3.1 |  | 320047 | 322619 | [32 empty] | 0.8 | 1.5048 | 9.9636 | 5.0318 | 33.3169 | 0.43296 | 2.8667
15 | PE_C_PCE_15.07.21_1.3.2 |  | 335754 | 337578 | [6 empty] | Calc. Conc. |  |  |  | Calc. Mass
16 | PE_C_PCE_15.07.21_1.4.1 |  | 325153 | 328680 | [6 empty] | w/ Eq. Conc. Gas |  |  |  | w/ Eq. Conc. Gas | Gas volume computed |  |  | Calc. Conc. Eq. |  |  |  | Gas volume computed
17 | PE_C_PCE_15.07.21_1.4.2 |  | 337632 | 338609 |  |  | Samples | Area |  | Incub. Conc | by C_Stds. [ppm] |  |  | Porewater | SIM_166 | [5 empty] | Kd | SIM_166_auto | [6 empty] | Kd
18 | PE_C_PCE_15.07.21_2.1.1 |  | 0 | 0 |  |  | GC-MS meas. averaged | SIM_166 | SIM_166_auto | PCE [ppm] | SIM_166 | SIM_166_auto |  | volume init. | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss = Solid [ug] | Aq. Phase [ppm] | Solid [ppm] | Cs/Caq | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss = Solid [ug] |  | Aq. Phase [ppm] | Solid [ppm] | Cs/Caq
19 | PE_C_PCE_15.07.21_2.2.1 |  | 0 | 51443 |  |  | PE_C_PCE_15.07.21_1.1.1 | 0 | 0 | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0
20 | PE_C_PCE_15.07.21_2.3.1 |  | 0 | 57424 |  |  | PE_C_PCE_15.07.21_1.2.1 | 342954 | 379614 | 2.5 | 0.1401 | 0.15274 |  | 8 | 20 | 14.6341 | 1.8722 | 3.4937 | 0.23402 | 0.17469 | 0.74645 | 20 | 15.9545 | 2.0411 | 2.0044 |  | 0.25514 | 0.10022 | 0.3928
21 | PE_C_PCE_15.07.21_2.4.1 |  | 0 | 52605 |  |  | PE_C_PCE_15.07.21_1.2.2 | 346506 | 347232 | 2.5 | 0.14155 | 0.13971 |  | 8 | 20 | 14.7857 | 1.8916 | 3.3228 | 0.23645 | 0.16614 | 0.70265 | 20 | 14.5936 | 1.867 | 3.5394 |  | 0.23337 | 0.17697 | 0.75832
[7 empty] | PE_C_PCE_15.07.21_1.3.1 | 320047 | 322619 | 2.5 | 0.13074 | 0.12981 |  | 8 | 20 | 13.6566 | 1.7471 | 4.5962 | 0.21839 | 0.22981 | 1.0523 | 20 | 13.5591 | 1.7347 | 4.7062 |  | 0.21683 | 0.23531 | 1.0852
[7 empty] | PE_C_PCE_15.07.21_1.3.2 | 335754 | 337578 | 2.5 | 0.13716 | 0.13583 |  | 8 | 20 | 14.3269 | 1.8329 | 3.8403 | 0.22911 | 0.19201 | 0.83809 | 20 | 14.1878 | 1.8151 | 3.9971 |  | 0.22689 | 0.19985 | 0.88086
[7 empty] | PE_C_PCE_15.07.21_1.4.1 | 325153 | 328680 | 2.5 | 0.13283 | 0.13225 |  | 8 | 20 | 13.8745 | 1.775 | 4.3505 | 0.22188 | 0.21752 | 0.98039 | 20 | 13.8139 | 1.7672 | 4.4189 |  | 0.22091 | 0.22094 | 1.0002
[7 empty] | PE_C_PCE_15.07.21_1.4.2 | 337632 | 338609 | 2.5 | 0.13793 | 0.13624 |  | 8 | 20 | 14.407 | 1.8431 | 3.7499 | 0.23039 | 0.18749 | 0.81381 | 20 | 14.2312 | 1.8206 | 3.9482 |  | 0.22758 | 0.19741 | 0.86744 | 0.8308
[7 empty] | PE_C_PCE_15.07.21_2.1.1 | 0 | 0 | 0 | 0 | 0 |  | 6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0
[7 empty] | PE_C_PCE_15.07.21_2.2.1 | 0 | 51443 | 2.5 | 0 | 0.020699 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 2.1857 | 0.20745 | 12.6068 |  | 0.034575 | 0.63034 | 18.2313
[7 empty] | PE_C_PCE_15.07.21_2.3.1 | 0 | 57424 | 2.5 | 0 | 0.023105 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 2.4399 | 0.23157 | 12.3286 |  | 0.038595 | 0.61643 | 15.9719
[7 empty] | PE_C_PCE_15.07.21_2.4.1 | 0 | 52605 | 2.5 | 0 | 0.021166 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 2.2351 | 0.21213 | 12.5528 |  | 0.035356 | 0.62764 | 17.7521 | Kd Mean
17.3184
16.07.21 GC-MS Measurement |  |  | Henry K_H | 0.754 | [24 empty] | Exclusion of outliers (1 per soil)
PE_C from 09.07.21, C_Std and R_Std from 27.06.21 | [25 empty] | K_d | Stat. Mean |  | Graphical
Method: PCE_T-Ramp_DHSI_SIM | [26 empty] | SIM_166 | SIM_166_auto | SIM_166 | SIM_166_auto
Injection vol. 50ul | [6 empty] | Calibration Standards | Area |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. | [11 empty] | Soil 1 | 0.85562 | 0.8308 | 1.5807 | 1.6446
|  | Theoret Conc | Measured Signal area |  |  |  | GC-MS meas. Single | SIM_166 | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] | [11 empty] | Soil 2 | - | 22.561 | - | 18.441
Run no. | Sample ID | aq [ppm] | SIM_166 | SIM_166_auto |  | 2021-07-16 | PE_C_PCE_16.07.21_Blk.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | Soil 3 | 0.27174 | 1.0191 | 0.8968 | 0.795
1 | PE_C_PCE_16.07.21_Blk.0 | 0 | 0 | 0 |  |  | PE_C_PCE_16.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | PE_C_PCE_16.07.21_Blk.1 | 0 | 0 | 0 |  |  | PE_C_PCE_16.07.21_C_Std_2.1 | 0 | 40054 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
3 | PE_C_PCE_16.07.21_C_Std_2.1 | 0.1 | 0 | 40054 |  |  | PE_C_PCE_16.07.21_C_Std_2.2 | 0 | 47478 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
4 | PE_C_PCE_16.07.21_C_Std_2.2 | 0.1 | 0 | 47478 |  |  | PE_C_PCE_16.07.21_C_Std_3.1 | 245292 | 250729 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | [15 empty] | 17.9962
5 | PE_C_PCE_16.07.21_C_Std_3.1 | 0.5 | 245292 | 250729 |  |  | PE_C_PCE_16.07.21_C_Std_3.2 | 274487 | 278296 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
6 | PE_C_PCE_16.07.21_C_Std_3.2 | 0.5 | 274487 | 278296 |  |  | PE_C_PCE_16.07.21_C_Std_4.1 | 562767 | 563189 | 1 | 10 | 8.3518 | 1.6482 | 0.16482
7 | PE_C_PCE_16.07.21_C_Std_4.1 | 1 | 562767 | 563189 |  |  | PE_C_PCE_16.07.21_C_Std_4.2 | 635811 | 638327 | 1 | 10 | 8.3518 | 1.6482 | 0.16482
8 | PE_C_PCE_16.07.21_C_Std_4.2 | 1 | 635811 | 638327
9 | PE_C_PCE_16.07.21_Blk.2 | 0 | 0 | 0
10 | PE_C_PCE_16.07.21_2.1.2 |  | 0 | 0
11 | PE_C_PCE_16.07.21_2.2.2 |  | 0 | 67077 |  |  |  |  | PE_C_3.i |  | Calc. Conc. |  |  |  | Calc. Mass
12 | PE_C_PCE_16.07.21_2.3.2 |  | 0 | 77765 |  |  |  |  | Corrected for Blank |  | w/ Eq. Conc. Gas |  |  |  | w/ Eq. Conc. Gas | Gas volume computed |  |  | Calc. Conc. Eq. |  |  |  | Gas volume computed
13 | PE_C_PCE_16.07.21_2.4.2 |  | 0 | 32193 |  |  | Samples | Area |  | Incub. Conc | by C_Stds. [ppm] |  |  | Porewater | SIM_166 | [5 empty] | Kd | SIM_166_auto | [6 empty] | Kd
14 | PE_C_PCE_16.07.21_3.1.1 |  | 0 | 69765 |  |  | GC-MS meas. averaged | SIM_166 | SIM_166_auto | PCE [ppm] | SIM_166 | SIM_166_auto |  | volume init. | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss = Solid [ug] | Aq. Phase [ppm] | Solid [ppm] | Cs/Caq | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss = Solid [ug] |  | Aq. Phase [ppm] | Solid [ppm] | Cs/Caq
15 | PE_C_PCE_16.07.21_3.1.2 |  | 0 | 66729 |  |  | PE_C_PCE_16.07.21_2.1.2 | 0 | 0 | 0 | 0 | 0 |  | 6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  | Kd Mean
16 | PE_C_PCE_15607.21_3.2.1 |  | 464051 | 467353 |  |  | PE_C_PCE_16.07.21_2.2.2 | 0 | 67077 | 2.5 | 0 | 0.018891 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 1.9948 | 0.18933 | 12.8159 |  | 0.031555 | 0.64079 | 20.3074 | 18.6741
17 | PE_C_PCE_16.07.21_3.2.2 |  | 476415 | 479265 |  |  | PE_C_PCE_16.07.21_2.3.2 | 0 | 77765 | 2.5 | 0 | 0.021901 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 2.3127 | 0.2195 | 12.4678 |  | 0.036583 | 0.62339 | 17.0407
18 | PE_C_PCE_16.07.21_Blk.3 | 0 | 0 | 0 |  |  | PE_C_PCE_16.07.21_2.4.2 | 0 | 32193 | 2.5 | 0 | 0.0090665 |  | 6 | 15 | 0 | 0 | 15 | 0 | 0.75 |  | 15 | 0.95739 | 0.090866 | 13.9517 |  | 0.015144 | 0.69759 | 46.0625
19 | PE_C_PCE_16.07.21_3.3.1 |  | 429428 | 430853 |  |  | PE_C_PCE_16.07.21_3.1.1 | 0 | 69765 | 0 | 0 | 0.019648 |  | 6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2.0916 | 0.19691 | -2.2885 |  | 0 | 0
20 | PE_C_PCE_16.07.21_3.3.2 |  | 507573 | 510648 |  |  | PE_C_PCE_16.07.21_3.1.2 | 0 | 66729 | 0 | 0 | 0.018793 |  | 6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2.0006 | 0.18835 | -2.1889 |  | 0 | 0
21 | PE_C_PCE_16.07.21_3.4.1 |  | 419243 | 421836 |  |  | PE_C_PCE_15607.21_3.2.1 | 464051 | 399106 | 2.5 | 0.13215 | 0.1124 |  | 6 | 15 | 14.068 | 1.3245 | -0.39245 | 0.22074 | -0.019623 | -0.088894 | 15 | 11.9653 | 1.1265 | 1.9082 |  | 0.18775 | 0.09541 | 0.50818
22 | PE_C_PCE_16.07.21_3.4.2 |  | 414545 | 415628 |  |  | PE_C_PCE_16.07.21_3.2.2 | 476415 | 411018 | 2.5 | 0.13567 | 0.11575 |  | 6 | 15 | 14.4428 | 1.3597 | -0.80256 | 0.22662 | -0.040128 | -0.17707 | 15 | 12.3224 | 1.1601 | 1.5175 |  | 0.19335 | 0.075873 | 0.39241
23 | PE_C_PCE_16.07.21_3.3.3 |  | 299817 | 311032 |  |  | PE_C_PCE_16.07.21_3.3.1 | 429428 | 362606 | 2.5 | 0.12229 | 0.10212 |  | 6 | 15 | 13.0184 | 1.2256 | 0.75598 | 0.20427 | 0.037799 | 0.18504 | 15 | 10.871 | 1.0235 | 3.1055 |  | 0.17058 | 0.15528 | 0.91029
[7 empty] | PE_C_PCE_16.07.21_3.3.2 | 507573 | 442401 | 2.5 | 0.14455 | 0.12459 |  | 6 | 15 | 15.3874 | 1.4487 | -1.8361 | 0.24145 | -0.091803 | -0.38022 | 15 | 13.2633 | 1.2487 | 0.488 |  | 0.20812 | 0.0244 | 0.11724
[7 empty] | PE_C_PCE_16.07.21_3.4.1 | 419243 | 353589 | 2.5 | 0.11939 | 0.099581 |  | 6 | 15 | 12.7096 | 1.1966 | 1.0938 | 0.19943 | 0.054691 | 0.27424 | 15 | 10.6007 | 0.99802 | 3.4013 |  | 0.16634 | 0.17006 | 1.0224
[7 empty] | PE_C_PCE_16.07.21_3.4.2 | 414545 | 347381 | 2.5 | 0.11805 | 0.097833 |  | 6 | 15 | 12.5672 | 1.1832 | 1.2496 | 0.19719 | 0.062482 | 0.31686 | 15 | 10.4146 | 0.9805 | 3.6049 |  | 0.16342 | 0.18025 | 1.103 | Kd Mean
[7 empty] | PE_C_PCE_16.07.21_3.3.3 | 299817 | 242785 | 2.5 | 0.085382 | 0.068375 |  | 6 | 15 | 9.0891 | 0.85571 | 5.0551 | 0.14262 | 0.25276 | 1.7723 | 15 | 7.2788 | 0.68527 | 7.036 |  | 0.11421 | 0.3518 | 3.0802 | 0.67558
0.021659

## Processing_final
[12 empty] | Correction: | [13 empty] | Correction: | [13 empty] | Correction: | Here instru. Correction applied for both: samples and Calibration !!! | [5 empty] | Gas volume computed | [8 empty] | Excluded for correction reasons
15.07.21 GC-MS Measurement | [6 empty] | From DTSC | H [Pa*m^3/mol] | K_H | Henry K_H | 0.59867 | Drift Correction | [8 empty] | Gas Volume | Clay-soil | Core top | Core bottom | Just | Blank correction |  | Correction for |  |  |  | Gas volume computed | [6 empty] | 1st | Instr. Drift Correction | Maybe too much? | [6 empty] | Henry K_H | 0.59867 |  |  | Original |  | Drift Corrected | [6 empty] | Average DTSC report |  |  |  | Theoretical | Linear | f_oc = 0.0285 |  | f_oc=0.0953 |  | f_oc=0.0082
PE_C from 09.07.21, C_Std and R_Std from 27.06.21 | [6 empty] | Report | 1175 | 0.47402 |  |  | Blank correction |  |  | Mean | [6 empty] | Soil 1 | Soil 2 | Soil 3 |  |  |  | Max or Mean of Blank???? |  |  |  |  | Henry K_H | 0.59867 |  |  |  |  | 2nd | Blank correction |  |  | Original | Drift Corrected |  | Original | Drift Corrected | Original | Drift Corrected | Original | Drift Corrected | Calibration A |  | Calibration B |  | Original | Drift Corrected | [5 empty] | K_oc |  |  | C_aq [ppm] | C_s [ppm]
Method: PCE_T-Ramp_DHSI_SIM | [7 empty] | 1793 | 0.72333 |  |  |  |  | Inst. Drift | Blank (mean) | [5 empty] | Bulk density [g/ml] | 1.0716 | 0.80162 | 1.3257 |  |  |  | Mean |  | Calibration A | Calc. Mass |  |  | Loss | Calc. Conc. | [6 empty] | Mean | Calibration A | Calibration B | Calc. Mass | Calibration A | Calibration B | Calibration A | Calibration B | Calibration A | Calibration B | Calc. Conc. |  | Calc. Conc. |  | Calibration A | Calibration B |  |  |  |  | f_oc | Minimum | Maximum |  |  | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum
Injection vol. 50ul | [7 empty] | 1484 | 0.59867 |  | 2021-07-15 | Calibration Standards | Area | Correction | Correction | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. | Mass soil [g] | 20 | 20 | 20 | 2021-07-15 | Samples | Area | Blank | Incub. Conc | Original data | w/ Eq. Conc. Gas |  |  | Sorption to | at Eq. After Part. |  | Kd [L/kg] |  |  |  | Inst. Drift | Blank |  |  | w/ Eq. Conc. Gas |  |  |  |  | Sorption to | Sorption to | at Eq. After Part. |  | at Eq. After Part. |  | Kd [L/kg] | Kd [L/kg] |  |  |  | Soil 1 | 2.85 | 66 | 437 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | m/z 166 |  | m/z 164 |  | m/z 150 | 164/166 |  |  |  | Run no. | GC-MS meas. Single | SIM_166_auto | SIM_166_auto | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] | Bulk Vol soil [ml] | 18.6639 | 24.9496 | 15.0861 | Run no. | GC-MS meas. averaged | SIM_166_auto | Correction | PCE [ppm] | by C_Stds. [ppm] | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Solid [ug] | Aq. Phase [ppm] | Solid [ppm] | C_s/C_aq |  |  |  | Correction | Correction | PCE [ppm] | PCE [ppm] | Total init. [ug] | in Gas [ug] | in Gas [ug] | In Aq. [ug] | In Aq. [ug] | Solid [ug] | Solid [ug] | Aq. Phase [ppm] | Solid [ppm] | Aq. Phase [ppm] | Solid [ppm] | C_s/C_aq | C_s/C_aq |  |  |  | Soil 2 | 9.53 | 66 | 437 |  | 0.05 | 0.09405 | 0.62273 | 0.31449 | 2.0823 | 0.02706 | 0.17917
Run no. | Sample ID | SIM_166 | SIM_166_auto | SIM_164 | SIM_164_auto | SIM_150 | (auto/auto) |  |  |  | 2 | PE_C_PCE_15.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Solid density [g/ml] | 2.65 | 2.38 | 2.65 | 10 | PE_C_PCE_15.07.21_1.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Soil 3 | 0.82 | 66 | 437 |  | 0.1 | 0.1881 | 1.2455 | 0.62898 | 4.1646 | 0.05412 | 0.35834
1 | PE_C_PCE_15.07.21_empty | [9 empty] | 3 | PE_C_PCE_15.07.21_Blk.2 | 0 | 0 | 40905.0963 | 0 | 0 | 0 | 0 | 0 | Volume Solid [ml] | 7.5472 | 8.4034 | 7.5472 | 11 | PE_C_PCE_15.07.21_1.2.1 | 379614 | 379614 | 2.5 | 0.15306 | 20 | 15.988 | 2.0454 | 1.9666 | 0.25567 | 0.098329 | 0.38459 |  |  |  | 319405.1567 | 319405.1567 | 0.1285 | 0.14651 | 20 | 13.4222 | 15.3029 | 1.7171 | 1.9577 | 4.8607 | 2.7394 | 0.21464 | 0.24303 | 0.24472 | 0.13697 | 1.1323 | 0.55971 | [8 empty] | 0.15 | 0.28215 | 1.8682 | 0.94347 | 6.2469 | 0.08118 | 0.53751
2 | PE_C_PCE_15.07.21_Blk.1 | 0 | 0 | 0 | 0 | 542544 |  |  |  |  | 4 | PE_C_PCE_15.07.21_C_Std_2.1 | 43709 | 40905.0963 | 42274.763 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | Pore volume [ml] | 11.1167 | 16.5462 | 7.5389 | 12 | PE_C_PCE_15.07.21_1.2.2 | 347232 | 347232 | 2.5 | 0.13985 | 20 | 14.6081 | 1.8688 | 3.5231 | 0.23361 | 0.17616 | 0.75407 |  |  |  | 288006.4463 | 288006.4463 | 0.11569 | 0.13184 | 20 | 12.0841 | 13.7716 | 1.546 | 1.7618 | 6.3699 | 4.4666 | 0.19324 | 0.3185 | 0.22023 | 0.22333 | 1.6482 | 1.0141 |  |  |  | K_d | Kd=Cs/Caq |  |  |  | 0.2 | 0.3762 | 2.4909 | 1.258 | 8.3292 | 0.10824 | 0.71668
3 | PE_C_PCE_15.07.21_Blk.2 | 0 | 0 | 0 | 0 | 590909 |  |  |  |  | 5 | PE_C_PCE_15.07.21_C_Std_2.2 | 45897 | 42274.763 | 197768.4768 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | Porosity [%] | 59.5628 | 66.3187 | 49.9726 | 14 | PE_C_PCE_15.07.21_1.3.1 | 322619 | 322619 | 2.5 | 0.12981 | 20 | 13.5592 | 1.7347 | 4.7062 | 0.21683 | 0.23531 | 1.0852 |  |  |  | 260194.8767 | 260194.8767 | 0.10434 | 0.11886 | 20 | 10.8989 | 12.4152 | 1.3943 | 1.5883 | 7.7068 | 5.9965 | 0.17429 | 0.38534 | 0.19854 | 0.29982 | 2.2109 | 1.5102 | Soil 1 | Mean | Std. Dev. | Soil 1 | 1.881 | 1.881 | 12.4545 |  | 0.25 | 0.47025 | 3.1136 | 1.5724 | 10.4115 | 0.1353 | 0.89585
4 | PE_C_PCE_15.07.21_C_Std_2.1 | 0 | 43709 | 0 | 35094 | 605417 | 0.8029 |  |  |  | 6 | PE_C_PCE_15.07.21_C_Std_3.1 | 218103 | 197768.4768 | 197857.6881 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 15 | PE_C_PCE_15.07.21_1.3.2 | 337578 | 337578 | 2.5 | 0.13591 | 20 | 14.1966 | 1.8162 | 3.9871 | 0.22703 | 0.19936 | 0.87812 |  |  |  | 268547.8757 | 268547.8757 | 0.10775 | 0.12276 | 20 | 11.2549 | 12.8226 | 1.4399 | 1.6404 | 7.3053 | 5.537 | 0.17998 | 0.36526 | 0.20505 | 0.27685 | 2.0294 | 1.3501 | Drift Corrected | 1.2432 | 0.3876 | Soil 2 | 6.2898 | 6.2898 | 41.6461 |  | 0.3 | 0.5643 | 3.7364 | 1.8869 | 12.4938 | 0.16236 | 1.075
5 | PE_C_PCE_15.07.21_C_Std_2.2 | 0 | 45897 | 0 | 34572 | 627937 | 0.75325 |  |  |  | 7 | PE_C_PCE_15.07.21_C_Std_3.2 | 221592 | 197857.6881 | 360516.6477 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | Total vol vial [ml] | 120 | 120 | 120 | 16 | PE_C_PCE_15.07.21_1.4.1 | 328680 | 328680 | 2.5 | 0.13228 | 20 | 13.8174 | 1.7677 | 4.4149 | 0.22096 | 0.22074 | 0.99901 | Mean | Std. Dev. |  | 257952.8717 | 257952.8717 | 0.10343 | 0.11781 | 20 | 10.8034 | 12.3059 | 1.3821 | 1.5743 | 7.8145 | 6.1198 | 0.17276 | 0.39073 | 0.19679 | 0.30599 | 2.2616 | 1.5549 | Original | 1.908 | 0.43984 | Soil 3 | 0.5412 | 0.5412 | 3.5834 |  | 0.35 | 0.65835 | 4.3591 | 2.2014 | 14.5761 | 0.18942 | 1.2542
6 | PE_C_PCE_15.07.21_C_Std_3.1 | 217080 | 218103 | 0 | 171596 | 687693 | 0.78677 |  |  |  | 8 | PE_C_PCE_15.07.21_C_Std_4.1 | 409941 | 360516.6477 | 340919.9913 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 | Porewater vol [ml] | 8 | 6 | 6 | 17 | PE_C_PCE_15.07.21_1.4.2 | 338609 | 338609 | 2.5 | 0.13634 | 20 | 14.2406 | 1.8218 | 3.9376 | 0.22773 | 0.19688 | 0.86453 | 0.82759 | 0.24549 |  | 262218.6944 | 262218.6944 | 0.10517 | 0.1198 | 20 | 10.9852 | 12.5139 | 1.4054 | 1.6009 | 7.6095 | 5.8852 | 0.17567 | 0.38047 | 0.20012 | 0.29426 | 2.1659 | 1.4704 | [8 empty] | 0.4 | 0.7524 | 4.9818 | 2.5159 | 16.6584 | 0.21648 | 1.4334
7 | PE_C_PCE_15.07.21_C_Std_3.2 | 218103 | 221592 |  | 167459 | 609976 | 0.75571 |  |  |  | 9 | PE_C_PCE_15.07.21_C_Std_4.2 | 393500 | 340919.9913 | 0 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 | Gas volume [ml] | 104.4528 | 105.5966 | 106.4528 | 18 | PE_C_PCE_15.07.21_2.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0.45 | 0.84645 | 5.6045 | 2.8304 | 18.7407 | 0.24354 | 1.6125
8 | PE_C_PCE_15.07.21_C_Std_4.1 | 408045 | 409941 | 318878 | 323230 | 627062 | 0.78848 |  |  |  | 13 | PE_C_PCE_15.07.21_Blk.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 19 | PE_C_PCE_15.07.21_2.2.1 | 51443 | 51443 | 2.5 | 0.019174 | 15 | 2.0247 | 0.19217 | 12.7831 | 0.032028 | 0.63916 | 19.9563 |  |  |  | 38807.4449 | 38807.4449 | 0.014019 | 0.015492 | 15 | 1.4804 | 1.6359 | 0.1405 | 0.15527 | 13.3791 | 13.2088 | 0.023417 | 0.66896 | 0.025878 | 0.66044 | 28.5674 | 25.5214 |  |  |  | Source | K_oc |  |  |  | 0.5 | 0.9405 | 6.2273 | 3.1449 | 20.823 | 0.2706 | 1.7917
9 | PE_C_PCE_15.07.21_C_Std_4.2 | 391072 | 393500 | 302456 | 305663 | 670760 | 0.77678 | [17 empty] | 20 | PE_C_PCE_15.07.21_2.3.1 | 57424 | 57424 | 2.5 | 0.021614 | 15 | 2.2824 | 0.21662 | 12.501 | 0.036104 | 0.62505 | 17.3125 | Mean | Std. Dev. |  | 42766.5131 | 42766.5131 | 0.015634 | 0.017341 | 15 | 1.6509 | 1.8311 | 0.15669 | 0.17379 | 13.1924 | 12.9951 | 0.026115 | 0.65962 | 0.028966 | 0.64975 | 25.2584 | 22.432 |  |  |  | Chemspider- EPISuite | 106.8 |  |  |  | 0.55 | 1.0346 | 6.85 | 3.4594 | 22.9054 | 0.29766 | 1.9709
10 | PE_C_PCE_15.07.21_1.1.1 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 21 | PE_C_PCE_15.07.21_2.4.1 | 52605 | 52605 | 2.5 | 0.019648 | 15 | 2.0748 | 0.19692 | 12.7283 | 0.03282 | 0.63641 | 19.3912 | 18.8867 | 1.3922 |  | 38683.8607 | 38683.8607 | 0.013969 | 0.015435 | 15 | 1.475 | 1.6298 | 0.14 | 0.15469 | 13.385 | 13.2155 | 0.023333 | 0.66925 | 0.025781 | 0.66077 | 28.683 | 25.6298 |  |  |  | EPA-Calculated | 155 |  |  |  | 0.6 | 1.1286 | 7.4727 | 3.7739 | 24.9877 | 0.32472 | 2.15
11 | PE_C_PCE_15.07.21_1.2.1 | 342954 | 379614 | 329247 | 331145 | 0 | 0.87232 | [17 empty] | 2021-07-16 | [35 empty] | EPA-Measured | 265 |  |  |  | 0.65 | 1.2227 | 8.0954 | 4.0884 | 27.07 | 0.35178 | 2.3292
12 | PE_C_PCE_15.07.21_1.2.2 | 346506 | 347232 | 265905 | 267774 | 0 | 0.77117 | [6 empty] | Inst. Drift | [10 empty] | Run no. | [35 empty] | DTSC-report range-min | 66 |  |  |  | 0.7 | 1.3167 | 8.7181 | 4.4029 | 29.1523 | 0.37884 | 2.5084
13 | PE_C_PCE_15.07.21_Blk.3 | 0 | 0 | 0 | 0 | 661560 |  |  |  |  | 2021-07-16 | Calibration Standards | Area | Correction |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. |  |  |  |  | 10 | PE_C_PCE_16.07.21_2.1.2 | 0 | 0 | 0 | 0.0025426 | 0 | 0.26849 | 0.025482 | -0.29397 | 0.004247 | 0 | 0 |  |  |  | 0 | 0 | 0.0025426 | 0 | 0 | 0.26849 | 0 | 0.025482 | 0 | -0.29397 | 0 | 0.004247 | 0 | 0 | 0 | 0 |  | Soil 2 | Mean | Std. Dev. | DTSC-report range-max | 437 |  |  |  | 0.75 | 1.4107 | 9.3409 | 4.7173 | 31.2346 | 0.4059 | 2.6875
14 | PE_C_PCE_15.07.21_1.3.1 | 320047 | 322619 | 250315 | 253787 | 0 | 0.78665 |  |  |  | Run no. | GC-MS meas. Single | SIM_166_auto | SIM_166_auto |  | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] |  |  |  |  | 11 | PE_C_PCE_16.07.21_2.2.2 | 67077 | 67077 | 2.5 | 0.021063 | 15 | 2.2242 | 0.2111 | 12.5647 | 0.035183 | 0.62823 | 17.8559 |  |  |  | 24350.4672 | 24350.4672 | 0.009266 | 0.014207 | 15 | 0.97846 | 1.5002 | 0.092866 | 0.14238 | 13.9287 | 13.3574 | 0.015478 | 0.69643 | 0.02373 | 0.66787 | 44.9961 | 28.144 | Drift Corrected | 25.4057 | 2.0258 | [5 empty] | 0.8 | 1.5048 | 9.9636 | 5.0318 | 33.3169 | 0.43296 | 2.8667
15 | PE_C_PCE_15.07.21_1.3.2 | 335754 | 337578 | 262372 | 263366 | 0 | 0.78016 |  |  |  | 1 | PE_C_PCE_16.07.21_Blk.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 12 | PE_C_PCE_16.07.21_2.3.2 | 77765 | 77765 | 2.5 | 0.024014 | 15 | 2.5358 | 0.24068 | 12.2235 | 0.040113 | 0.61117 | 15.2363 | Mean | Std. Dev. |  | 26685.1924 | 26685.1924 | 0.0099107 | 0.015611 | 15 | 1.0465 | 1.6485 | 0.099327 | 0.15645 | 13.8541 | 13.1951 | 0.016554 | 0.69271 | 0.026076 | 0.65975 | 41.8442 | 25.3015 | Original | 33.8698 | 8.8961
16 | PE_C_PCE_15.07.21_1.4.1 | 325153 | 328680 | 255814 | 258103 | 0 | 0.78527 |  |  |  | 2 | PE_C_PCE_16.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 13 | PE_C_PCE_16.07.21_2.4.2 | 32193 | 32193 | 2.5 | 0.011431 | 15 | 1.2071 | 0.11457 | 13.6783 | 0.019095 | 0.68392 | 35.8171 | 22.9698 | 11.2029 |  | 10473.776 | 10473.776 | 0.0054345 | 0.0058617 | 15 | 0.57386 | 0.61897 | 0.054466 | 0.058747 | 14.3717 | 14.3223 | 0.0090776 | 0.71858 | 0.0097911 | 0.71611 | 79.1602 | 73.1393
17 | PE_C_PCE_15.07.21_1.4.2 | 337632 | 338609 | 265080 | 267778 | 0 | 0.79082 |  |  |  | 3 | PE_C_PCE_16.07.21_C_Std_2.1 | 40054 | 27090.224 | 27090.224 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 14 | PE_C_PCE_16.07.21_3.1.1 | 69765 | 1518 | 0 | 0.0029617 | 0 | 0.31528 | 0.029683 | -0.34496 | 0.0049471 | 0 | 0 |  |  |  | 21577.7596 | 954.6878 | 0.0028062 | 0.0001371 | 0 | 0.29872 | 0.014595 | 0.028124 | 0.001374 | -0.32685 | -0.015969 | 0.0046873 | 0 | 0.00022901 | 0 | 0
18 | PE_C_PCE_15.07.21_2.1.1 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 4 | PE_C_PCE_16.07.21_C_Std_2.2 | 47478 | 28984.3866 | 28984.3866 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 15 | PE_C_PCE_16.07.21_3.1.2 | 66729 | -1518 | 0 | 0.0021234 | 0 | 0.22604 | 0.021281 | -0.24732 | 0.0035469 | 0 | 0 |  |  |  | 19668.384 | -954.6878 | 0.002279 | 0 | 0 | 0.2426 | 0 | 0.02284 | 0 | -0.26544 | 0 | 0.0038067 | 0 | 0 | 0 | 0
19 | PE_C_PCE_15.07.21_2.2.1 | 0 | 51443 | 0 | 39839 | 0 | 0.77443 |  |  |  | 5 | PE_C_PCE_16.07.21_C_Std_3.1 | 250729 | 139482.3518 | 139482.3518 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 16 | PE_C_PCE_15607.21_3.2.1 | 467353 | 399106 | 2.5 | 0.11274 | 15 | 12.0016 | 1.1299 | 1.8685 | 0.18832 | 0.093426 | 0.4961 |  |  |  | 131566.5562 | 110943.4844 | 0.033175 | 0.066282 | 15 | 3.5316 | 7.0559 | 0.33249 | 0.66429 | 11.1359 | 7.2798 | 0.055415 | 0.55679 | 0.11071 | 0.36399 | 10.0477 | 3.2876
20 | PE_C_PCE_15.07.21_2.3.1 | 0 | 57424 | 0 | 46678 | 0 | 0.81287 |  |  |  | 6 | PE_C_PCE_16.07.21_C_Std_3.2 | 278296 | 142199.4948 | 142199.4948 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 17 | PE_C_PCE_16.07.21_3.2.2 | 479265 | 411018 | 2.5 | 0.11603 | 15 | 12.3517 | 1.1629 | 1.4854 | 0.19381 | 0.074271 | 0.38321 |  |  |  | 129121.6988 | 108498.627 | 0.0325 | 0.064812 | 15 | 3.4598 | 6.8994 | 0.32572 | 0.64955 | 11.2145 | 7.4511 | 0.054287 | 0.56073 | 0.10826 | 0.37255 | 10.3288 | 3.4413
21 | PE_C_PCE_15.07.21_2.4.1 | 0 | 52605 | 0 | 40566 | 0 | 0.77114 |  |  |  | 7 | PE_C_PCE_16.07.21_C_Std_4.1 | 563189 | 266082.5426 | 266082.5426 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 |  |  |  |  | 19 | PE_C_PCE_16.07.21_3.3.1 | 430853 | 362606 | 2.5 | 0.10266 | 15 | 10.9287 | 1.0289 | 3.0424 | 0.17148 | 0.15212 | 0.88707 |  |  |  | 106891.3074 | 86268.2356 | 0.026362 | 0.051443 | 15 | 2.8063 | 5.4762 | 0.26421 | 0.51557 | 11.9294 | 9.0082 | 0.044035 | 0.59647 | 0.085928 | 0.45041 | 13.5455 | 5.2417 | Soil 3 | Mean | Std. Dev.
[11 empty] | 8 | PE_C_PCE_16.07.21_C_Std_4.2 | 638327 | 280446.6285 | 280446.6285 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 |  |  |  |  | 20 | PE_C_PCE_16.07.21_3.3.2 | 510648 | 442401 | 2.5 | 0.1247 | 15 | 13.2741 | 1.2497 | 0.47613 | 0.20829 | 0.023807 | 0.1143 |  |  |  | 121865.1301 | 101242.0583 | 0.030497 | 0.060448 | 15 | 3.2465 | 6.4348 | 0.30564 | 0.60582 | 11.4479 | 7.9594 | 0.050941 | 0.57239 | 0.10097 | 0.39797 | 11.2365 | 3.9415 | Drift Corrected | 4.8923 | 1.5886
[11 empty] | 9 | PE_C_PCE_16.07.21_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 21 | PE_C_PCE_16.07.21_3.4.1 | 421836 | 353589 | 2.5 | 0.10017 | 15 | 10.6637 | 1.004 | 3.3323 | 0.16733 | 0.16662 | 0.99577 | Mean | Std. Dev. |  | 96978.5811 | 76355.5092 | 0.023625 | 0.045481 | 15 | 2.515 | 4.8416 | 0.23678 | 0.45582 | 12.2482 | 9.7026 | 0.039463 | 0.61241 | 0.07597 | 0.48513 | 15.5187 | 6.3857 | Original | 12.8879 | 2.7875
16.07.21 GC-MS Measurement | [10 empty] | 18 | PE_C_PCE_16.07.21_Blk.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 22 | PE_C_PCE_16.07.21_3.4.2 | 415628 | 347381 | 2.5 | 0.098459 | 15 | 10.4812 | 0.98677 | 3.532 | 0.16446 | 0.1766 | 1.0738 | 0.65838 | 0.38387 |  | 92171.3146 | 71548.2428 | 0.022298 | 0.04259 | 15 | 2.3737 | 4.5339 | 0.22347 | 0.42685 | 12.4028 | 10.0393 | 0.037246 | 0.62014 | 0.071142 | 0.50196 | 16.6501 | 7.0559 | [10 empty] | Exclusion of outliers (1 per soil)
PE_C from 09.07.21, C_Std and R_Std from 27.06.21 | [64 empty] | K_d | Stat. Mean |  | Graphical
Method: PCE_T-Ramp_DHSI_SIM | [65 empty] | SIM_166 | SIM_166_auto | SIM_166 | SIM_166_auto
Injection vol. 50ul | [64 empty] | Soil 1 | #DIV/0! | #REF! | 1.5807 | 1.6446
|  | m/z 166 |  | m/z 164 |  | m/z 150 | 164/166 | [57 empty] | Soil 2 | - | #REF! | - | 18.441
Run no. | Sample ID | SIM_166 | SIM_166_auto | SIM_164 | SIM_164_auto | SIM_150 | (auto/auto) | [57 empty] | Soil 3 | #DIV/0! | #REF! | 0.8968 | 0.795
1 | PE_C_PCE_16.07.21_Blk.0 | 0 | 0 | 0 | 0 | 394976
2 | PE_C_PCE_16.07.21_Blk.1 | 0 | 0 | 0 | 0 | 947039
3 | PE_C_PCE_16.07.21_C_Std_2.1 | 0 | 40054 | 0 | 0 | 686637 | 0
4 | PE_C_PCE_16.07.21_C_Std_2.2 | 0 | 47478 | 0 | 39850 | 865187 | 0.83934 | [61 empty] | #REF!
5 | PE_C_PCE_16.07.21_C_Std_3.1 | 245292 | 250729 |  | 195027 | 829990 | 0.77784
6 | PE_C_PCE_16.07.21_C_Std_3.2 | 274487 | 278296 | 216956 | 218155 | 928185 | 0.7839
7 | PE_C_PCE_16.07.21_C_Std_4.1 | 562767 | 563189 | 439729 | 441585 | 1101833 | 0.78408
8 | PE_C_PCE_16.07.21_C_Std_4.2 | 635811 | 638327 | 485255 | 478715 | 988806 | 0.74995
9 | PE_C_PCE_16.07.21_Blk.2 | 0 | 0 | 0 | 0 | 986239
10 | PE_C_PCE_16.07.21_2.1.2 | 0 | 0 | 0 | 0 | 0
11 | PE_C_PCE_16.07.21_2.2.2 | 0 | 67077 | 0 | 53470 | 0 | 0.79714
12 | PE_C_PCE_16.07.21_2.3.2 | 0 | 77765 | 0 | 59062 | 0 | 0.75949
13 | PE_C_PCE_16.07.21_2.4.2 | 0 | 32193 | 0 | 0 | 0 | 0
14 | PE_C_PCE_16.07.21_3.1.1 | 0 | 69765 | 0 | 56024 | 0 | 0.80304
15 | PE_C_PCE_16.07.21_3.1.2 | 0 | 66729 | 0 | 52797 | 0 | 0.79122
16 | PE_C_PCE_15607.21_3.2.1 | 464051 | 467353 | 359390 | 361110 | 0 | 0.77267
17 | PE_C_PCE_16.07.21_3.2.2 | 476415 | 479265 | 368063 | 370209 | 0 | 0.77245
18 | PE_C_PCE_16.07.21_Blk.3 | 0 | 0 | 0 | 0 | 1976925
19 | PE_C_PCE_16.07.21_3.3.1 | 429428 | 430853 | 334293 | 336171 | 0 | 0.78025
20 | PE_C_PCE_16.07.21_3.3.2 | 507573 | 510648 | 396058 | 397618 | 0 | 0.77865
21 | PE_C_PCE_16.07.21_3.4.1 | 419243 | 421836 | 330133 | 332039 | 0 | 0.78713
22 | PE_C_PCE_16.07.21_3.4.2 | 414545 | 415628 | 319686 | 320872 | 0 | 0.77202
23 | PE_C_PCE_16.07.21_3.3.3 | 299817 | 311032 | 250974 | 264994 | 0 | 0.85198