## Raw
03.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM |  | Integration by
Injection vol. 50ul |  | ChemStation, AutoIntegrator and RTE
|  | m/z 95 |  |  | m/z 150 |  |  | m/z 152 |  |  | m/z 164 |  | Auto | RTE | m/z 166 |  | Auto | RTE | m/z 150 | Auto | m/z 130 | m/z 131 | m/z 132 | Theoret. Init. Conc
Run no. | Sample ID | RT | SIM_95 | SIM_95_auto | RT | SIM_150 | SIM_150_auto | RT | SIM_152 | SIM_152_auto | RT | SIM_164 | SIM_164 | SIM_164 | RT | SIM_166 | SIM_166 | SIM_166 | RT | SIM_150 |  |  |  | aq. | 164/166
1 | IE_A_PCE_27.07.21_Blk.1 | 3.571 | 598741 | 600310 | 13.166 | 148175 | 150193 | 13.166 |  | 92281 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 13.166 | 150193 |  |  |  | 0
2 | IE_A_PCE_27.07.21_Blk.2 | 3.574 | 512585 | 518244 | 13.168 | 115846 | 115846 | 13.169 |  | 74942 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 13.168 | 115846 |  |  |  | 0
3 | IE_A_PCE_27.07.21_C_Std_2.1 | 3.575 | 574603 | 581839 | 13.169 |  | 124817 | 13.17 |  | 79173 | 7.001 |  | 135943 | 14514 | 7.004 |  | 44469 | 1143 | 13.169 | 124817 |  |  |  | 0.1
4 | IE_A_PCE_27.07.21_C_Std_2.2 | 3.58 | 898048 | 899570 | 13.169 | 160317 | 161205 | 13.17 |  | 101829 | 6.998 |  | 21527 | 1890 | 7.001 |  | 20953 | 1980 | 13.169 | 161205 |  |  |  | 0.1 | 0.95455
5 | IE_A_PCE_27.07.21_C_Std_3.1 | 3.574 | 963122 | 966570 | 13.17 | 169555 | 172944 | 13.17 |  | 113496 | 7 |  | 70972 | 5845 | 7.001 |  | 83241 | 7720 | 13.17 | 172944 |  |  |  | 0.5 | 0.75712
6 | IE_A_PCE_27.07.21_C_Std_3.2 | 3.581 | 822218 | 822359 | 13.171 | 149619 | 150151 | 13.172 |  | 100468 | 7.005 |  | 53693 | 5515 | 7.006 |  | 64945 | 6702 | 13.171 | 150151 |  |  |  | 0.5 | 0.82289
7 | IE_A_PCE_27.07.21_C_Std_4.1 | 3.582 | 771042 | 771121 | 13.171 | 142701 | 143355 | 13.172 |  | 94705 | 7.005 |  | 115745 | 11653 | 7.006 |  | 145847 | 14694 | 13.171 | 143355 |  |  |  | 1 | 0.79304
8 | IE_A_PCE_27.07.21_C_Std_4.2 | 3.583 | 854072 | 855415 | 13.171 | 156261 | 158674 | 13.172 |  | 103563 | 7.006 |  | 131101 | 13298 | 7.007 |  | 167133 | 16948 | 13.171 | 158674 |  |  |  | 1 | 0.78464
9 | IE_A_PCE_27.07.21_Blk.3 | 3.579 | 964461 | 965888 | 13.17 | 164230 | 164987 | 13.172 |  | 107081 | [8 empty] | 13.17 | 164987
10 | IE_A_PCE_27.07.21_IE_1.1 | [9 empty] | 7.001 |  |  | 268 | 6.989 |  |  | 370 | [6 empty] | 0.72432 | 0.012484
11 | IE_A_PCE_27.07.21_IE_2.1 | [9 empty] | 7.001 |  |  | 784 | 7.001 |  |  | 860 | [6 empty] | 0.91163 | 0.047424
12 | IE_A_PCE_27.07.21_IE_3.1 | [9 empty] | 7.001 |  |  | 1230 | 7.006 |  | 13164 | 1443 | [6 empty] | 0.85239 | 0.088995
13 | IE_A_PCE_27.07.21_IE_4.1 | [9 empty] | 7.001 |  |  | 940 | 7.001 |  |  | 1042 | [6 empty] | 0.90211 | 0.060401
14 | IE_A_PCE_27.07.21_IE_5.1 | [13 empty] | 7.013 |  |  | 361 | [7 empty] | 0.011842
15 | IE_A_PCE_27.07.21_IE_6.1 | [9 empty] | 7.001 |  |  | 1190 | 7.005 |  | 11655 | 1247 | [6 empty] | 0.95429 | 0.075019
16 | IE_A_PCE_27.07.21_IE_6.2 | [9 empty] | 7.001 |  |  | 931 | 7.001 |  |  | 1266 | [6 empty] | 0.73539 | 0.076374
17 | IE_A_PCE_27.07.21_IE_7.1 | [13 empty] | 7.001 |  |  | 1354 | [7 empty] | 0.082649
18 | IE_A_PCE_27.07.21_IE_7.2 | [9 empty] | 7.001 |  |  | 1136 | 7.001 |  |  | 1158 | [6 empty] | 0.981 | 0.068673
19 | IE_A_PCE_27.07.21_IE_8.1 | [9 empty] | 7.001 |  |  | 1039 | 7.001 |  |  | 1103 | [6 empty] | 0.94198 | 0.064751
20 | IE_A_PCE_27.07.21_IE_8.2 | [9 empty] | 6.989 |  |  | 1235 | 7.001 |  |  | 1402 | [6 empty] | 0.88088 | 0.086072
21 | IE_A_PCE_27.07.21_Blk.4 | 3.581 | 1016540 | 1016950 | 13.171 | 168397 | 172923 | 13.172 |  | 110325 |  |  |  |  | 7.025 |  |  | 821 | 13.171 | 172923 | [5 empty] | 0.044643
22 | IE_A_PCE_27.07.21_C_Std_1.1 | 3.58 | 784342 | 786022 | 13.172 | 151930 | 153571 | 13.173 |  | 96586 | 7.001 |  |  | 894 | 7.001 |  |  | 909 | 13.172 | 153571 |  |  |  | 0.05 | 0.9835
23 | IE_A_PCE_27.07.21_C_Std_1.2 | 3.579 | 855111 | 855753 | 13.171 | 143991 | 146348 | 13.171 |  | 95814 | 7.001 |  |  | 709 | 7.001 |  |  | 947 | 13.171 | 146348 |  |  |  | 0.05 | 0.74868
24 | IE_A_PCE_27.07.21_IE_9.1 | [9 empty] | 7.001 |  |  | 259 | 7.001 |  |  | 281 | [6 empty] | 0.92171 | 0.0061373
25 | IE_A_PCE_27.07.21_IE_10.1 | [9 empty] | 7.001 |  |  | 1055 | 7.005 |  | 10839 | 1061 | [6 empty] | 0.99434 | 0.061756
26 | IE_A_PCE_27.07.21_IE_11.1 | [9 empty] | 7.001 |  |  | 805 | 7.001 |  |  | 856 | [6 empty] | 0.94042 | 0.047138
27 | IE_A_PCE_27.07.21_IE_12.1 | [9 empty] | 7.004 |  | 202245 |  | 7.005 |  | 16337 | 1476 | [6 empty] | 0 | 0.091348
04.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM |  | Integration by
Injection vol. 50ul |  | ChemStation, AutoIntegrator and RTE
|  | m/z 95 |  |  | m/z 150 |  |  | m/z 152 |  |  | m/z 164 |  | Auto | RTE | m/z 166 |  | Auto | RTE | m/z 150 | Auto | m/z 130 | m/z 131 | m/z 132 | Theoret. Init. Conc
Run no. | Sample ID | RT | SIM_95 |  | RT | SIM_150 |  | RT |  | SIM_152 | RT | SIM_164 | SIM_164 | SIM_164 | RT | SIM_166 | SIM_166 | SIM_166 | RT | SIM_150 |  |  |  | aq. | 164/166
1 | IE_A_PCE_27.07.21_Blk.0 | [17 empty] | 13.165 | 114248
2 | IE_A_PCE_27.07.21_Blk.1 | [17 empty] | 13.167 | 139925
3 | IE_A_PCE_27.07.21_C_Std_1.1 | [9 empty] | 6.989 |  |  | 988 | 7.001 |  |  | 911 | 13.169 | 142118 |  |  |  | 0.05 | 1.0845
4 | IE_A_PCE_27.07.21_C_Std_1.2 | [9 empty] | 7.001 |  |  | 960 |  |  |  |  | 13.169 | 164500 |  |  |  | 0.05
5 | IE_A_PCE_27.07.21_C_Std_2.1 | [9 empty] | 7.001 |  |  | 1567 | 7.001 |  |  | 1828 | 13.169 | 130252 |  |  |  | 0.1 | 0.85722
6 | IE_A_PCE_27.07.21_C_Std_2.2 | [9 empty] | 7.001 |  | 3375 | 15579 | 7.001 |  | 39557 | 6758 | 13.17 | 121327 |  |  |  | 0.1
7 | IE_A_PCE_27.07.21_C_Std_3.1 | [9 empty] | 7.001 |  |  | 9523 | 7.001 |  |  | 11925 | 13.169 | 165847 |  |  |  | 0.5 | 0.79857
8 | IE_A_PCE_27.07.21_C_Std_3.2 | [9 empty] | 7.001 |  |  | 7646 | 7.001 |  |  | 9251 | 13.171 | 155469 |  |  |  | 0.5 | 0.82651
9 | IE_A_PCE_27.07.21_Blk.2 | [17 empty] | 13.17 | 169430
10 | IE_A_PCE_27.07.21_IE_13.1
11 | IE_A_PCE_27.07.21_IE_14.1 | [9 empty] | 7.001 |  |  | 1093 | 7.001 |  |  | 1239 | [6 empty] | 0.88216 | 0.06875
12 | IE_A_PCE_27.07.21_IE_14.2 | [9 empty] | 7.001 |  |  | 1045 | 7.001 |  |  | 1579 | [6 empty] | 0.66181 | 0.084441
13 | IE_A_PCE_27.07.21_IE_15.1 | [9 empty] | 7.001 |  |  | 1092 | 7.001 |  |  | 1409 | [6 empty] | 0.77502 | 0.076595
14 | IE_A_PCE_27.07.21_IE_15.2 | [9 empty] | 7.001 |  |  | 1265 | 7.001 |  |  | 1485 | [6 empty] | 0.85185 | 0.080103
15 | IE_A_PCE_27.07.21_IE_16.1 | [9 empty] | 7.001 |  |  | 1050 | 7.001 |  |  | 1496 | [6 empty] | 0.70187 | 0.080611
16 | IE_A_PCE_27.07.21_IE_16.2 | [9 empty] | 7.001 |  |  | 1222 | 7.001 |  |  | 1228 | [6 empty] | 0.99511 | 0.068242
17 | IE_A_PCE_27.07.21_IE_17.1 | [9 empty] | 6.989 |  |  | 434 | 6.989 |  |  | 487 | [6 empty] | 0.89117 | 0.034044
18 | IE_A_PCE_27.07.21_IE_18.1 | [9 empty] | 7.001 |  |  | 553 | 7.001 |  |  | 493 | [6 empty] | 1.1217 | 0.034321
19 | IE_A_PCE_27.07.21_IE_19.1 | [9 empty] | 7.001 |  |  | 426 | 7.001 |  |  | 532 | [6 empty] | 0.80075 | 0.036121
20 | IE_A_PCE_27.07.21_Blk.3 | [17 empty] | 13.169 | 122881
21 | IE_A_PCE_27.07.21_IE_19.2 | [9 empty] | 7.001 |  |  | 511 | 7.001 |  |  | 645 | [6 empty] | 0.79225 | 0.041336
22 | IE_A_PCE_27.07.21_IE_20.1 | [9 empty] | 7.001 |  |  | 370 | 6.989 |  |  | 515 | [6 empty] | 0.71845 | 0.035336
23 | IE_A_PCE_27.07.21_IE_20.2 | [9 empty] | 7.001 |  |  | 397 | 7.001 |  |  | 479 | [6 empty] | 0.82881 | 0.033675
24 | IE_A_PCE_27.07.21_IE_21.1 | [13 empty] | 7.001 |  |  | 313 | [6 empty] | 0 | 0.026014
25 | IE_A_PCE_27.07.21_IE_22.1
26 | IE_A_PCE_27.07.21_IE_23.1 | [13 empty] | 6.989 |  |  | 302 | [6 empty] | 0 | 0.025506
27 | IE_A_PCE_27.07.21_IE_23.2 | [13 empty] | 7.001 |  |  | 316 | [6 empty] | 0 | 0.026152
28 | IE_A_PCE_27.07.21_IE_24.1 | [9 empty] | 7.001 |  |  | 414 | 7.001 |  |  | 308 | [6 empty] | 1.3442 | 0.025783
29 | IE_A_PCE_27.07.21_IE_24.2 | [9 empty] | 7.001 |  |  | 362 | 7.001 |  |  | 495 | [6 empty] | 0.73131 | 0.034413
05.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM
Injection vol. 50ul |  | Integration by
ChemStation, AutoIntegrator and RTE
Run no. |  | m/z 95 |  |  | m/z 150 |  |  | m/z 152 |  |  | m/z 164 |  | Auto | RTE | m/z 166 |  | Auto | RTE | m/z 150 | Auto | m/z 130 | m/z 131 | m/z 132 | Theoret. Init. Conc
| Sample ID | RT | SIM_95 |  | RT | SIM_150 |  | RT |  | SIM_152 | RT | SIM_164 | SIM_164 | SIM_164 | RT | SIM_166 | SIM_166 | SIM_166 | RT | SIM_150 |  |  |  | aq. | 164/166
1 | IE_A_PCE_27.07.21_Blk.0 | [17 empty] | 13.166 | 77246
2 | IE_A_PCE_27.07.21_Blk.1 | [17 empty] | 13.168 | 94964
3 | IE_A_PCE_27.07.21_C_Std_1.1 | [9 empty] | 7.001 |  |  | 742 | 7.001 |  |  | 682 | 13.17 | 105511 |  |  |  | 0.05 | 1.088
4 | IE_A_PCE_27.07.21_C_Std_1.2 | [9 empty] | 7.001 |  |  | 591 | 6.989 |  |  | 687 | 13.171 | 97232 |  |  |  | 0.05 | 0.86026
5 | IE_A_PCE_27.07.21_C_Std_2.1 | [9 empty] | 7.001 |  |  | 1261 | 7.001 |  |  | 1550 | 13.171 | 89395 |  |  |  | 0.1 | 0.81355
6 | IE_A_PCE_27.07.21_C_Std_2.2 | [9 empty] | 7.001 |  |  | 1213 | 7.001 |  |  | 1111 | 13.172 | 71996 |  |  |  | 0.1 | 1.0918
7 | IE_A_PCE_27.07.21_C_Std_3.1 | [9 empty] | 7.001 |  |  | 4888 | 7.001 |  |  | 6550 | 13.171 | 97223 |  |  |  | 0.5 | 0.74626
8 | IE_A_PCE_27.07.21_C_Std_3.2 | [9 empty] | 7.001 |  |  | 5023 | 7.001 |  |  | 6372 | 13.172 | 92207 |  |  |  | 0.5 | 0.78829
9 | IE_A_PCE_27.07.21_IE_25.1 | [13 empty] | 7.001 |  |  | 285 | [6 empty] | 0 | 0.018708
10 | IE_A_PCE_27.07.21_IE_26.1
11 | IE_A_PCE_27.07.21_IE_27.1 | [9 empty] | 7.001 |  |  | 918 | 7.001 |  |  | 1196 | [6 empty] | 0.76756 | 0.089697
12 | IE_A_PCE_27.07.21_IE_27.2 | [9 empty] | 7.001 |  |  | 1135 | 7.001 |  |  | 1349 | [6 empty] | 0.84136 | 0.10162
13 | IE_A_PCE_27.07.21_Blk.2 | [17 empty] | 13.172 | 85961
14 | IE_A_PCE_27.07.21_IE_28.1 | [9 empty] | 7.001 |  |  | 618 | 7.001 |  |  | 938 | [6 empty] | 0.65885 | 0.069592
15 | IE_A_PCE_27.07.21_IE_28.2 | [13 empty] | 7.001 |  |  | 1068 | [6 empty] | 0 | 0.079723
16 | IE_A_PCE_27.07.21_IE_29.1
17 | IE_A_PCE_27.07.21_IE_30.1 | [9 empty] | 7.001 |  |  | 253
18 | IE_A_PCE_27.07.21_IE_31.1 | [9 empty] | 7.001 |  |  | 657 | 7.001 |  |  | 769 | [6 empty] | 0.85436 | 0.056423
19 | IE_A_PCE_27.07.21_IE_31.2 | [9 empty] | 7.001 |  |  | 778 | 7.001 |  |  | 935 | [6 empty] | 0.83209 | 0.069359
20 | IE_A_PCE_27.07.21_IE_32.1 | [9 empty] | 7.001 |  |  | 837 | 7.001 |  |  | 921 | [6 empty] | 0.90879 | 0.068268
21 | IE_A_PCE_27.07.21_IE_32.2 | [9 empty] | 7.001 |  |  | 900 | 7.001 |  |  | 871 | [6 empty] | 1.0333 | 0.064371

## Processing_final
03.08.21 GC-MS Measurement | [6 empty] | From DTSC | H [Pa*m^3/mol] | K_H | Henry K_H | 0.59867 | [7 empty] | Gas Volume | Clay-soil | Core top | Core bottom |  | Correction: |  |  | Aq. Vol. assumed! |  | Gas volume computed |  |  | Sets from PE_C | K_d (Exp.) | Soil 1 | Soil 2 | Soil 3 |  |  |  |  | Correction: | Here instru. Correction applied for both: samples and Calibration !!! |  |  | Gas volume computed |  |  | Sets from PE_C | K_d (Exp.) | Soil 1 | Soil 2 | Soil 3
IE_A from 27.07.21, C_Std and R_Std from 27.06.21 | [6 empty] | Report | 1175 | 0.47402 | [10 empty] | Soil 1 | Soil 2 | Soil 3 |  | Blank correction | [5 empty] | Henry K_H | 0.59867 | A) | PE_C_corr1 | 0.82759 | 20.9282 | 0.65838 |  |  |  |  | Blank correction | Maybe too much? |  |  |  | Henry K_H | 0.59867 | A) | PE_C_corr1 | 0.82759 | 20.9282 | 0.65838 |  |  |  |  | Loss (Biodegrad)
Method: PCE_T-Ramp_DHSI_SIM | [7 empty] | 1793 | 0.72333 | [9 empty] | Bulk density [g/ml] | 1.0716 | 0.80162 | 1.3257 | [9 empty] | B) | PE_C_corr2 | 1.2432 | 33.3613 | 4.516 |  |  |  |  | Instr. Drift Correction |  |  |  | Maybe Vol. correction?! |  |  | B) | PE_C_corr2 | 1.2432 | 33.3613 | 4.516 |  |  |  |  | Means
Injection vol. 50ul | [7 empty] | 1484 | 0.59867 |  |  |  | Inst. Drift | [5 empty] | Mass soil [g] | 20 | 20 | 20 |  |  |  | Correction for | [5 empty] | C) | PE_C_graph1 | 0.8026 | 18.626 | 0.5971 | [11 empty] | C) | PE_C_graph1 | 0.8026 | 18.626 | 0.5971 |  |  |  |  | Corrections | K_d Set | Set A) |  | Set B) |  | Set C) |  | Set D)
|  | m/z 166 |  | m/z 164 |  | m/z 150 | 164/166 |  |  | 2021-08-03 | Calibration Standards | Area | Correction | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. | Bulk Vol soil [ml] | 18.6639 | 24.9496 | 15.0861 |  |  |  | Max or Mean of Blank???? | [5 empty] | D) | PE_C_graph2 | 1.1842 | 26.482 | 4.1706 | Mass Balance | [6 empty] | Drift Corrected |  |  |  | D) | PE_C_graph2 | 1.1842 | 26.482 | 4.1706 | Mass Balance |  |  |  | Blank |  | Mean | RSD [%] | Mean | RSD [%] | Mean | RSD [%] | Mean | RSD [%]
Run no. | Sample ID | SIM_166_auto | RTE_SIM_166 | SIM_164_auto | RTE_SIM_164 | SIM_150_auto | (RTE/RTE) |  |  | Run no. | GC-MS meas. Single | RTE_SIM_166 | RTE_SIM_166 | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] | Solid density [g/ml] | 2.65 | 2.38 | 2.65 | [5 empty] | Calibration | Calc. Mass |  | ASSUMPTION |  | Sorption to |  |  |  | Loss (Biodegradation) | [6 empty] | Calibration | Calc. Mass |  | ASSUMPTION Vol. |  | Sorption to |  |  |  | Loss (Biodegradation) |  |  |  | Soil | Condition
1 | IE_A_PCE_27.07.21_Blk.1 | 0 |  | 0 |  | 150193 |  |  |  | 1 | IE_A_PCE_27.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Volume Solid [ml] | 7.5472 | 8.4034 | 7.5472 | 2021-08-03 | Samples | Area | Blank | Incub. Conc | w/ Eq. Conc. Gas | w/ Eq. Conc. Gas |  |  | Calc Conc. | K_d A) | K_d B) | K_d C) | K_d D) | Set A) | Set B) | Set C) | Set D) | Samples | Inst. Drift | Incub. Conc | w/ Eq. Conc. Gas | w/ Eq. Conc. Gas |  |  | Calc Conc. | K_d A) | K_d B) | K_d C) | K_d D) | Set A) | Set B) | Set C) | Set D) | Soil 1 | w/o CH4 | 18.875 | 2.3074 | 18.7676 | 2.5422 | 18.8815 | 2.2934 | 18.7829 | 2.5087
2 | IE_A_PCE_27.07.21_Blk.2 | 0 |  | 0 |  | 115846 |  |  |  | 2 | IE_A_PCE_27.07.21_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pore volume [ml] | 11.1167 | 16.5462 | 7.5389 | Run no. | GC-MS meas. averaged | RTE_SIM_166 | Correction | PCE [ppm] | by C_Stds. [ppm] | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Aq. [ppm] | Solid [ug] |  |  |  | Mass [ug] | Mass [ug] | Mass [ug] | Mass [ug] | GC-MS meas. averaged | Correction | PCE [ppm] | by C_Stds. [ppm] | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Aq. [ppm] | Solid [ug] |  |  |  | Mass [ug] | Mass [ug] | Mass [ug] | Mass [ug] |  | w/ CH4 short | 18.7253 | 0.93818 | 18.6036 | 1.0345 | 18.7326 | 0.93243 | 18.6209 | 1.0207
3 | IE_A_PCE_27.07.21_C_Std_2.1 | 44469 | 1143 | 135943 | 14514 | 124817 | 12.6982 |  |  | 3 | IE_A_PCE_27.07.21_C_Std_2.1 | 1143 | 1093.5584 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | Porosity [%] | 59.5628 | 66.3187 | 49.9726 | 10 | IE_A_PCE_27.07.21_IE_1.1 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | w/ CH4 long | 18.1995 | 0.88361 | 18.0276 | 0.97718 | 18.2098 | 0.87804 | 18.052 | 0.96378
4 | IE_A_PCE_27.07.21_C_Std_2.2 | 20953 | 1980 | 21527 | 1890 | 161205 | 0.95455 |  |  | 4 | IE_A_PCE_27.07.21_C_Std_2.2 | 1980 | 1867.4273 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 11 | IE_A_PCE_27.07.21_IE_2.1 | 860 | 490 | 2.5 | 0.0044542 | 20 | 0.46525 | 0.059521 | 0.0074401 | 0.12315 | 0.185 | 0.11943 | 0.17621 | 19.3521 | 19.2902 | 19.3558 | 19.299 | IE_A_PCE_27.07.21_IE_2.1 | 420.3209 | 2.5 | 0.0043618 | 20 | 0.45561 | 0.058287 | 0.0072858 | 0.96475 | 1.4493 | 0.93562 | 1.3805 | 18.5214 | 18.0368 | 18.5505 | 18.1056 | Soil 2 | w/o CH4 | 13.6939 | 6.8822 | 13.0281 | 10.9216 | 13.8172 | 6.1769 | 13.3965 | 8.637
5 | IE_A_PCE_27.07.21_C_Std_3.1 | 83241 | 7720 | 70972 | 5845 | 172944 | 0.75712 |  |  | 5 | IE_A_PCE_27.07.21_C_Std_3.1 | 7720 | 7179.0395 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | Total vol vial [ml] | 120 | 120 | 120 | 12 | IE_A_PCE_27.07.21_IE_3.1 | 1443 | 1073 | 2.5 | 0.010672 | 20 | 1.1148 | 0.14261 | 0.017827 | 0.29506 | 0.44325 | 0.28615 | 0.42221 | 18.4476 | 18.2994 | 18.4565 | 18.3204 | IE_A_PCE_27.07.21_IE_3.1 | 908.6701 | 2.5 | 0.010123 | 20 | 1.0574 | 0.13527 | 0.016909 | 2.239 | 3.3635 | 2.1714 | 3.2038 | 16.5684 | 15.4439 | 16.636 | 15.6036 |  | w/ CH4 | 14.0621 | 8.3585 | 13.5839 | 13.0637 | 14.1506 | 7.5221 | 13.8485 | 10.4201
6 | IE_A_PCE_27.07.21_C_Std_3.2 | 64945 | 6702 | 53693 | 5515 | 150151 | 0.82289 |  |  | 6 | IE_A_PCE_27.07.21_C_Std_3.2 | 6702 | 6146.2368 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 | Porewater vol [ml] | 8 | 6 | 6 | 13 | IE_A_PCE_27.07.21_IE_4.1 | 1042 | 672 | 2.5 | 0.0063954 | 20 | 0.66801 | 0.085461 | 0.010683 | 0.17682 | 0.26562 | 0.17148 | 0.25301 | 19.0697 | 18.9809 | 19.075 | 18.9935 | IE_A_PCE_27.07.21_IE_4.1 | 561.9118 | 2.5 | 0.0060322 | 20 | 0.63008 | 0.080607 | 0.010076 | 1.3342 | 2.0043 | 1.2939 | 1.9091 | 17.9551 | 17.285 | 17.9954 | 17.3802 | Soil 3 | w/o CH4 | 13.5285 | 2.3016 | 12.1589 | 4.9442 | 13.5502 | 2.2639 | 12.2816 | 4.6835
7 | IE_A_PCE_27.07.21_C_Std_4.1 | 145847 | 14694 | 115745 | 11653 | 143355 | 0.79304 |  |  | 7 | IE_A_PCE_27.07.21_C_Std_4.1 | 14694 | 13291.7968 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 | Gas volume [ml] | 104.4528 | 105.5966 | 106.4528 | 14 | IE_A_PCE_27.07.21_IE_5.1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | w/ CH4 | 13.4909 | 0.98687 | 12.0863 | 2.1268 | 13.5132 | 0.97067 | 12.2121 | 2.014
8 | IE_A_PCE_27.07.21_C_Std_4.2 | 167133 | 16948 | 131101 | 13298 | 158674 | 0.78464 |  |  | 8 | IE_A_PCE_27.07.21_C_Std_4.2 | 16948 | 15124.5208 | 1 | 10 | 8.3518 | 1.6482 | 0.16482 |  |  |  |  | 15 | IE_A_PCE_27.07.21_IE_6.1 | 1247 | 886 | 2.5 | 0.0086778 | 20 | 0.90642 | 0.11596 | 0.014495 | 0.23992 | 0.36042 | 0.23268 | 0.3433 | 18.7377 | 18.6172 | 18.7449 | 18.6343 | IE_A_PCE_27.07.21_IE_6.1 | 722.641 | 2.5 | 0.0079283 | 20 | 0.82813 | 0.10594 | 0.013243 | 1.7536 | 2.6343 | 1.7006 | 2.5092 | 17.3123 | 16.4316 | 17.3653 | 16.5567
9 | IE_A_PCE_27.07.21_Blk.3 |  |  |  |  | 164987 |  |  |  | 9 | IE_A_PCE_27.07.21_Blk.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16 | IE_A_PCE_27.07.21_IE_6.2 | 1266 | 905 | 2.5 | 0.0088805 | 20 | 0.92759 | 0.11867 | 0.014834 | 0.24552 | 0.36883 | 0.23811 | 0.35132 | 18.7082 | 18.5849 | 18.7156 | 18.6024 | IE_A_PCE_27.07.21_IE_6.2 | 729.1749 | 2.5 | 0.0080054 | 20 | 0.83618 | 0.10697 | 0.013372 | 1.7706 | 2.6599 | 1.7172 | 2.5336 | 17.2862 | 16.3969 | 17.3397 | 16.5232 | Loss (Biodegrad)
10 | IE_A_PCE_27.07.21_IE_1.1 |  | 370 |  | 268 |  | 0.72432 |  |  | 21 | IE_A_PCE_27.07.21_Blk.4 | 821 | 623.6319 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 17 | IE_A_PCE_27.07.21_IE_7.1 | 1354 | 993 | 2.5 | 0.009819 | 20 | 1.0256 | 0.13121 | 0.016401 | 0.27147 | 0.40782 | 0.26327 | 0.38845 | 18.5717 | 18.4353 | 18.5799 | 18.4547 | IE_A_PCE_27.07.21_IE_7.1 | 790.4796 | 2.5 | 0.0087286 | 20 | 0.91172 | 0.11664 | 0.01458 | 1.9306 | 2.9002 | 1.8723 | 2.7625 | 17.041 | 16.0714 | 17.0993 | 16.2092 | Means
11 | IE_A_PCE_27.07.21_IE_2.1 |  | 860 |  | 784 |  | 0.91163 |  |  | 22 | IE_A_PCE_27.07.21_C_Std_1.1 | 909 | 682.6619 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | 18 | IE_A_PCE_27.07.21_IE_7.2 | 1158 | 797 | 2.5 | 0.0077286 | 20 | 0.80727 | 0.10328 | 0.01291 | 0.21368 | 0.32099 | 0.20722 | 0.30575 | 18.8758 | 18.7685 | 18.8822 | 18.7837 | IE_A_PCE_27.07.21_IE_7.2 | 626.9321 | 2.5 | 0.0067992 | 20 | 0.7102 | 0.090857 | 0.011357 | 1.5039 | 2.2591 | 1.4584 | 2.1519 | 17.6951 | 16.9398 | 17.7405 | 17.0471 | Corrections
12 | IE_A_PCE_27.07.21_IE_3.1 | 13164 | 1443 |  | 1230 |  | 0.85239 |  |  | 23 | IE_A_PCE_27.07.21_C_Std_1.2 | 947 | 703.2408 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | 19 | IE_A_PCE_27.07.21_IE_8.1 | 1103 | 742 | 2.5 | 0.007142 | 20 | 0.746 | 0.095437 | 0.01193 | 0.19746 | 0.29663 | 0.19149 | 0.28254 | 18.9611 | 18.8619 | 18.9671 | 18.876 | IE_A_PCE_27.07.21_IE_8.1 | 576.8302 | 2.5 | 0.0062082 | 20 | 0.64846 | 0.082959 | 0.01037 | 1.3731 | 2.0628 | 1.3317 | 1.9648 | 17.8955 | 17.2058 | 17.9369 | 17.3038 | Blank | K_d Set | Set A) |  | Set B) |  | Set C) |  | Set D)
13 | IE_A_PCE_27.07.21_IE_4.1 |  | 1042 |  | 940 |  | 0.90211 | [15 empty] | 20 | IE_A_PCE_27.07.21_IE_8.2 | 1402 | 1041 | 2.5 | 0.010331 | 20 | 1.0791 | 0.13805 | 0.017257 | 0.28563 | 0.42908 | 0.277 | 0.4087 | 18.4972 | 18.3538 | 18.5058 | 18.3741 | IE_A_PCE_27.07.21_IE_8.2 | 799.901 | 2.5 | 0.0088397 | 20 | 0.92333 | 0.11812 | 0.014766 | 1.9552 | 2.9371 | 1.8961 | 2.7977 | 17.0034 | 16.0214 | 17.0624 | 16.1609 | Drift |  | Mean | RSD [%] | Mean | RSD [%] | Mean | RSD [%] | Mean | RSD [%]
14 | IE_A_PCE_27.07.21_IE_5.1 |  | 361 |  |  |  | 0 | [5 empty] | Inst. Drift | [9 empty] | 24 | IE_A_PCE_27.07.21_IE_9.1 | 281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_9.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Soil | Condition
15 | IE_A_PCE_27.07.21_IE_6.1 | 11655 | 1247 |  | 1190 |  | 0.95429 |  |  | 2021-08-04 | Calibration Standards | Area | Correction | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. |  |  |  |  | 25 | IE_A_PCE_27.07.21_IE_10.1 | 1061 | 780 | 2.5 | 0.0075473 | 20 | 0.78833 | 0.10085 | 0.012607 | 0.20866 | 0.31346 | 0.20236 | 0.29858 | 18.9022 | 18.7974 | 18.9085 | 18.8122 | IE_A_PCE_27.07.21_IE_10.1 | 566.546 | 2.5 | 0.0060868 | 20 | 0.63579 | 0.081338 | 0.010167 | 1.3463 | 2.0224 | 1.3056 | 1.9264 | 17.9366 | 17.2604 | 17.9772 | 17.3565 | Soil 1 | w/o CH4 | 17.7228 | 4.7851 | 16.9767 | 6.6323 | 17.7677 | 4.679 | 17.0826 | 6.3601
16 | IE_A_PCE_27.07.21_IE_6.2 |  | 1266 |  | 931 |  | 0.73539 |  |  | Run no. | GC-MS meas. Single | RTE_SIM_166 | Neglectable | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] |  |  |  |  | 26 | IE_A_PCE_27.07.21_IE_11.1 | 856 | 575 | 2.5 | 0.0053608 | 20 | 0.55995 | 0.071636 | 0.0089545 | 0.14821 | 0.22265 | 0.14374 | 0.21208 | 19.2202 | 19.1458 | 19.2247 | 19.1563 | IE_A_PCE_27.07.21_IE_11.1 | 413.1239 | 2.5 | 0.0042769 | 20 | 0.44674 | 0.057152 | 0.007144 | 0.94597 | 1.4211 | 0.91741 | 1.3536 | 18.5501 | 18.075 | 18.5787 | 18.1425 |  | w/ CH4 short | 17.3723 | 2.0509 | 16.5112 | 2.865 | 17.424 | 2.0046 | 16.6335 | 2.7443
17 | IE_A_PCE_27.07.21_IE_7.1 |  | 1354 |  |  |  | 0 |  |  | 1 | IE_A_PCE_27.07.21_Blk.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 27 | IE_A_PCE_27.07.21_IE_12.1 | 1476 | 1195 | 2.5 | 0.011974 | 20 | 1.2507 | 0.16 | 0.02 | 0.33104 | 0.4973 | 0.32104 | 0.47368 | 18.2583 | 18.092 | 18.2683 | 18.1157 | IE_A_PCE_27.07.21_IE_12.1 | 849.3822 | 2.5 | 0.0094234 | 20 | 0.98431 | 0.12592 | 0.015741 | 2.0843 | 3.1311 | 2.0213 | 2.9824 | 16.8055 | 15.7587 | 16.8684 | 15.9074 |  | w/ CH4 long | 15.8077 | 2.3693 | 14.4339 | 3.445 | 15.8903 | 2.3105 | 14.629 | 3.2799
18 | IE_A_PCE_27.07.21_IE_7.2 |  | 1158 |  | 1136 |  | 0.981 |  |  | 2 | IE_A_PCE_27.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [38 empty] | Soil 2 | w/o CH4 | 8.0977 | 61.4961 | 4.1072 | 191.3429 | 8.8367 | 50.3208 | 6.3152 | 99.2186
19 | IE_A_PCE_27.07.21_IE_8.1 |  | 1103 |  | 1039 |  | 0.94198 |  |  | 3 | IE_A_PCE_27.07.21_C_Std_1.1 | 911 | 910.5895 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | 2021-08-04 | [34 empty] | w/ CH4 | 10.0456 | 61.7897 | 7.1813 | 136.408 | 10.576 | 52.4077 | 8.7661 | 89.095
20 | IE_A_PCE_27.07.21_IE_8.2 |  | 1402 |  | 1235 |  | 0.88088 |  |  | 4 | IE_A_PCE_27.07.21_C_Std_1.2 | 0 | 0 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | Run no. | [33 empty] | Soil 3 | w/o CH4 | 12.3788 | 4.5166 | 4.2207 | 54.4754 | 12.5084 | 4.2489 | 4.9513 | 43.2905
21 | IE_A_PCE_27.07.21_Blk.4 |  | 821 |  |  | 172923 | 0 |  |  | 5 | IE_A_PCE_27.07.21_C_Std_2.1 | 1828 | 1826.6277 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 10 | IE_A_PCE_27.07.21_IE_13.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_13.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | w/ CH4 | 12.3303 | 1.902 | 4.0213 | 23.9835 | 12.4623 | 1.7888 | 4.7653 | 18.8671
22 | IE_A_PCE_27.07.21_C_Std_1.1 |  | 909 |  | 894 | 153571 | 0.9835 |  |  | 6 | IE_A_PCE_27.07.21_C_Std_2.2 | 6758 | 6751.9128 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 11 | IE_A_PCE_27.07.21_IE_14.1 | 1239 | 1239 | 2.5 | 0.011097 | 20 | 1.1591 | 0.14829 | 0.018536 | 0.3068 | 0.46089 | 0.29754 | 0.439 | 18.3858 | 18.2317 | 18.3951 | 18.2536 | IE_A_PCE_27.07.21_IE_14.1 | 1236.9555 | 2.5 | 0.011091 | 20 | 1.1584 | 0.1482 | 0.018525 | 2.453 | 3.685 | 2.3789 | 3.51 | 16.2403 | 15.0083 | 16.3144 | 15.1833
23 | IE_A_PCE_27.07.21_C_Std_1.2 |  | 947 |  | 709 | 146348 | 0.74868 |  |  | 7 | IE_A_PCE_27.07.21_C_Std_3.1 | 11925 | 11912.4702 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 12 | IE_A_PCE_27.07.21_IE_14.2 | 1579 | 1579 | 2.5 | 0.013705 | 20 | 1.4315 | 0.18314 | 0.022892 | 0.37891 | 0.56921 | 0.36747 | 0.54218 | 18.0064 | 17.8161 | 18.0179 | 17.8432 | IE_A_PCE_27.07.21_IE_14.2 | 1576.158 | 2.5 | 0.013695 | 20 | 1.4305 | 0.18301 | 0.022876 | 3.0292 | 4.5505 | 2.9377 | 4.3344 | 15.3573 | 13.8359 | 15.4488 | 14.052
24 | IE_A_PCE_27.07.21_IE_9.1 |  | 281 |  | 259 |  | 0.92171 |  |  | 8 | IE_A_PCE_27.07.21_C_Std_3.2 | 9251 | 9239.8929 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 13 | IE_A_PCE_27.07.21_IE_15.1 | 1409 | 1409 | 2.5 | 0.012401 | 20 | 1.2953 | 0.16571 | 0.020714 | 0.34285 | 0.51505 | 0.3325 | 0.49059 | 18.1961 | 18.0239 | 18.2065 | 18.0484 | IE_A_PCE_27.07.21_IE_15.1 | 1406.2531 | 2.5 | 0.012391 | 20 | 1.2942 | 0.16558 | 0.020697 | 2.7406 | 4.117 | 2.6578 | 3.9215 | 15.7996 | 14.4232 | 15.8824 | 14.6187
25 | IE_A_PCE_27.07.21_IE_10.1 | 10839 | 1061 |  | 1055 |  | 0.99434 |  |  | 9 | IE_A_PCE_27.07.21_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 14 | IE_A_PCE_27.07.21_IE_15.2 | 1485 | 1485 | 2.5 | 0.012984 | 20 | 1.3562 | 0.1735 | 0.021688 | 0.35897 | 0.53926 | 0.34813 | 0.51365 | 18.1113 | 17.931 | 18.1222 | 17.9566 | IE_A_PCE_27.07.21_IE_15.2 | 1481.8827 | 2.5 | 0.012972 | 20 | 1.3549 | 0.17334 | 0.021667 | 2.869 | 4.31 | 2.7824 | 4.1053 | 15.6027 | 14.1618 | 15.6893 | 14.3664
26 | IE_A_PCE_27.07.21_IE_11.1 |  | 856 |  | 805 |  | 0.94042 |  |  | 20 | IE_A_PCE_27.07.21_Blk.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 15 | IE_A_PCE_27.07.21_IE_16.1 | 1496 | 1496 | 2.5 | 0.013068 | 20 | 1.365 | 0.17463 | 0.021829 | 0.3613 | 0.54277 | 0.3504 | 0.51699 | 18.099 | 17.9176 | 18.11 | 17.9434 | IE_A_PCE_27.07.21_IE_16.1 | 1492.6358 | 2.5 | 0.013054 | 20 | 1.3635 | 0.17444 | 0.021805 | 2.8873 | 4.3374 | 2.8001 | 4.1314 | 15.5747 | 14.1246 | 15.6619 | 14.3306
27 | IE_A_PCE_27.07.21_IE_12.1 | 16337 | 1476 | 202245 |  |  | 0 | [15 empty] | 16 | IE_A_PCE_27.07.21_IE_16.2 | 1228 | 1228 | 2.5 | 0.011012 | 20 | 1.1503 | 0.14716 | 0.018395 | 0.30447 | 0.45738 | 0.29527 | 0.43566 | 18.3981 | 18.2452 | 18.4073 | 18.2669 | IE_A_PCE_27.07.21_IE_16.2 | 1225.0548 | 2.5 | 0.010999 | 20 | 1.1489 | 0.14698 | 0.018373 | 2.4328 | 3.6546 | 2.3593 | 3.4811 | 16.2713 | 15.0495 | 16.3448 | 15.223
[13 empty] | Inst. Drift | [9 empty] | 17 | IE_A_PCE_27.07.21_IE_17.1 | 487 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_17.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 2021-08-05 | Calibration Standards | Area | Correction | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. |  |  |  |  | 18 | IE_A_PCE_27.07.21_IE_18.1 | 493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_18.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04.08.21 GC-MS Measurement | [9 empty] | Run no. | GC-MS meas. Single | RTE_SIM_166 | Neglectable | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] |  |  |  |  | 19 | IE_A_PCE_27.07.21_IE_19.1 | 532 | 39 | 2.5 | 0.0018919 | 15 | 0.19978 | 0.018961 | 0.0031601 | 1.3227 | 2.1085 | 1.1772 | 1.6737 | 13.4585 | 12.6727 | 13.604 | 13.1075 | IE_A_PCE_27.07.21_IE_19.1 | 38.889 | 2.5 | 0.0018901 | 15 | 0.19959 | 0.018943 | 0.0031572 | 7.9288 | 12.6392 | 7.0566 | 10.0329 | 6.8526 | 2.1423 | 7.7249 | 4.7485
IE_A from 27.07.21, C_Std and R_Std from 27.06.21 | [9 empty] | 1 | IE_A_PCE_27.07.21_Blk.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 21 | IE_A_PCE_27.07.21_IE_19.2 | 645 | 152 | 2.5 | 0.0027587 | 15 | 0.29131 | 0.027648 | 0.004608 | 1.9288 | 3.0746 | 1.7166 | 2.4406 | 12.7523 | 11.6065 | 12.9645 | 12.2405 | IE_A_PCE_27.07.21_IE_19.2 | 151.5219 | 2.5 | 0.0027551 | 15 | 0.29092 | 0.027612 | 0.0046019 | 11.5573 | 18.4232 | 10.2859 | 14.6243 | 3.1242 | -3.7418 | 4.3956 | 0.057211
Method: PCE_T-Ramp_DHSI_SIM | [9 empty] | 2 | IE_A_PCE_27.07.21_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 22 | IE_A_PCE_27.07.21_IE_20.1 | 515 | 22 | 2.5 | 0.0017615 | 15 | 0.18601 | 0.017654 | 0.0029423 | 1.2316 | 1.9632 | 1.0961 | 1.5584 | 13.5648 | 12.8331 | 13.7003 | 13.238 | IE_A_PCE_27.07.21_IE_20.1 | 21.9275 | 2.5 | 0.0017598 | 15 | 0.18583 | 0.017637 | 0.0029396 | 7.3824 | 11.7682 | 6.5703 | 9.3415 | 7.4141 | 3.0283 | 8.2262 | 5.455
Injection vol. 50ul | [9 empty] | 3 | IE_A_PCE_27.07.21_C_Std_1.1 | 682 | 679.9157 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | 23 | IE_A_PCE_27.07.21_IE_20.2 | 479 | -14 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15 | IE_A_PCE_27.07.21_IE_20.2 | 0 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15
|  | m/z 166 |  | m/z 164 |  | m/z 150 | 164/166 |  |  | 4 | IE_A_PCE_27.07.21_C_Std_1.2 | 687 | 684.2033 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 |  |  |  |  | 24 | IE_A_PCE_27.07.21_IE_21.1 | 313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Run no. | Sample ID | SIM_166_auto | RTE_SIM_166 | SIM_164_auto | RTE_SIM_164 | SIM_150_auto | (RTE/RTE) |  |  | 5 | IE_A_PCE_27.07.21_C_Std_2.1 | 1550 | 1542.1208 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 25 | IE_A_PCE_27.07.21_IE_22.1 | 0 | -313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_22.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | IE_A_PCE_27.07.21_Blk.0 |  |  |  |  | 114248 |  |  |  | 6 | IE_A_PCE_27.07.21_C_Std_2.2 | 1111 | 1104.2298 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 |  |  |  |  | 26 | IE_A_PCE_27.07.21_IE_23.1 | 302 | -11 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15 | IE_A_PCE_27.07.21_IE_23.1 | 0 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15
2 | IE_A_PCE_27.07.21_Blk.1 |  |  |  |  | 139925 |  |  |  | 7 | IE_A_PCE_27.07.21_C_Std_3.1 | 6550 | 6503.4802 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 27 | IE_A_PCE_27.07.21_IE_23.2 | 316 | 3 | 2.5 | 0.0016157 | 15 | 0.17062 | 0.016193 | 0.0026989 | 1.1297 | 1.8008 | 1.0054 | 1.4294 | 13.6835 | 13.0124 | 13.8078 | 13.3838 | IE_A_PCE_27.07.21_IE_23.2 | 2.9879 | 2.5 | 0.0016144 | 15 | 0.17047 | 0.01618 | 0.0026966 | 6.7723 | 10.7956 | 6.0273 | 8.5695 | 8.0411 | 4.0178 | 8.7861 | 6.2439
3 | IE_A_PCE_27.07.21_C_Std_1.1 |  | 911 |  | 988 | 142118 | 1.0845 |  |  | 8 | IE_A_PCE_27.07.21_C_Std_3.2 | 6372 | 6320.3318 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409 |  |  |  |  | 28 | IE_A_PCE_27.07.21_IE_24.1 | 308 | -5 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15 | IE_A_PCE_27.07.21_IE_24.1 | 0 | 2.5 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 15 | 15
4 | IE_A_PCE_27.07.21_C_Std_1.2 |  |  |  | 960 | 164500 |  |  |  | 13 | IE_A_PCE_27.07.21_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 29 | IE_A_PCE_27.07.21_IE_24.2 | 495 | 182 | 2.5 | 0.0029888 | 15 | 0.31561 | 0.029954 | 0.0049924 | 2.0896 | 3.3311 | 1.8598 | 2.6442 | 12.5648 | 11.3234 | 12.7947 | 12.0103 | IE_A_PCE_27.07.21_IE_24.2 | 181.2104 | 2.5 | 0.002983 | 15 | 0.315 | 0.029897 | 0.0049828 | 12.5137 | 19.9478 | 11.1371 | 15.8345 | 2.1414 | -5.2927 | 3.518 | -1.1794
5 | IE_A_PCE_27.07.21_C_Std_2.1 |  | 1828 |  | 1567 | 130252 | 0.85722
6 | IE_A_PCE_27.07.21_C_Std_2.2 | 39557 | 6758 | 3375 | 15579 | 121327 | 2.3053 | [15 empty] | 2021-08-05
7 | IE_A_PCE_27.07.21_C_Std_3.1 |  | 11925 |  | 9523 | 165847 | 0.79857 | [15 empty] | Run no.
8 | IE_A_PCE_27.07.21_C_Std_3.2 |  | 9251 |  | 7646 | 155469 | 0.82651 | [15 empty] | 9 | IE_A_PCE_27.07.21_IE_25.1 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_25.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | IE_A_PCE_27.07.21_Blk.2 |  |  |  |  | 169430 | [16 empty] | 10 | IE_A_PCE_27.07.21_IE_26.1 | 0 | -285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_26.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | IE_A_PCE_27.07.21_IE_13.1 | [21 empty] | 11 | IE_A_PCE_27.07.21_IE_27.1 | 1196 | 911 | 2.5 | 0.011372 | 15 | 1.2106 | 0.11397 | 0.018995 | 0.25012 | 1.7157 | 0.22684 | 1.5844 | 13.4253 | 11.9598 | 13.4486 | 12.091 | IE_A_PCE_27.07.21_IE_27.1 | 900.8737 | 2.5 | 0.011312 | 15 | 1.2042 | 0.11338 | 0.018896 | 1.4929 | 10.2402 | 1.3539 | 9.4569 | 12.1895 | 3.4422 | 12.3284 | 4.2255
11 | IE_A_PCE_27.07.21_IE_14.1 |  | 1239 |  | 1093 |  | 0.88216 | [15 empty] | 12 | IE_A_PCE_27.07.21_IE_27.2 | 1349 | 1064 | 2.5 | 0.013328 | 15 | 1.4188 | 0.13358 | 0.022263 | 0.29315 | 2.0108 | 0.26586 | 1.857 | 13.1545 | 11.4368 | 13.1817 | 11.5906 | IE_A_PCE_27.07.21_IE_27.2 | 1051.1109 | 2.5 | 0.013248 | 15 | 1.4103 | 0.13278 | 0.02213 | 1.7484 | 11.9927 | 1.5856 | 11.0753 | 11.7085 | 1.4642 | 11.8712 | 2.3815
12 | IE_A_PCE_27.07.21_IE_14.2 |  | 1579 |  | 1045 |  | 0.66181 | [15 empty] | 14 | IE_A_PCE_27.07.21_IE_28.1 | 938 | 653 | 2.5 | 0.008073 | 15 | 0.8594 | 0.080909 | 0.013485 | 0.17756 | 1.218 | 0.16104 | 1.1248 | 13.8821 | 12.8417 | 13.8987 | 12.9349 | IE_A_PCE_27.07.21_IE_28.1 | 643.7899 | 2.5 | 0.0079996 | 15 | 0.85158 | 0.080174 | 0.013362 | 1.0557 | 7.2414 | 0.95743 | 6.6874 | 13.0126 | 6.8269 | 13.1108 | 7.3808
13 | IE_A_PCE_27.07.21_IE_15.1 |  | 1409 |  | 1092 |  | 0.77502 | [15 empty] | 15 | IE_A_PCE_27.07.21_IE_28.2 | 1068 | 783 | 2.5 | 0.0097352 | 15 | 1.0363 | 0.097568 | 0.016261 | 0.21412 | 1.4687 | 0.19419 | 1.3564 | 13.652 | 12.3973 | 13.6719 | 12.5097 | IE_A_PCE_27.07.21_IE_28.2 | 771.1794 | 2.5 | 0.0096412 | 15 | 1.0263 | 0.096626 | 0.016104 | 1.2723 | 8.7273 | 1.1539 | 8.0598 | 12.6047 | 5.1497 | 12.7231 | 5.8173
14 | IE_A_PCE_27.07.21_IE_15.2 |  | 1485 |  | 1265 |  | 0.85185 | [15 empty] | 16 | IE_A_PCE_27.07.21_IE_29.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_29.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | IE_A_PCE_27.07.21_IE_16.1 |  | 1496 |  | 1050 |  | 0.70187 | [15 empty] | 17 | IE_A_PCE_27.07.21_IE_30.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | IE_A_PCE_27.07.21_IE_30.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | IE_A_PCE_27.07.21_IE_16.2 |  | 1228 |  | 1222 |  | 0.99511 | [15 empty] | 18 | IE_A_PCE_27.07.21_IE_31.1 | 769 | 769 | 2.5 | 0.0095562 | 15 | 1.0173 | 0.095774 | 0.015962 | 0.21018 | 1.4417 | 0.19062 | 1.3315 | 13.6768 | 12.4452 | 13.6963 | 12.5555 | IE_A_PCE_27.07.21_IE_31.1 | 755.1108 | 2.5 | 0.0094341 | 15 | 1.0043 | 0.094551 | 0.015758 | 1.245 | 8.5399 | 1.1291 | 7.8867 | 12.6562 | 5.3613 | 12.772 | 6.0145
17 | IE_A_PCE_27.07.21_IE_17.1 |  | 487 |  | 434 |  | 0.89117 | [15 empty] | 19 | IE_A_PCE_27.07.21_IE_31.2 | 935 | 935 | 2.5 | 0.011679 | 15 | 1.2432 | 0.11705 | 0.019508 | 0.25687 | 1.762 | 0.23296 | 1.6272 | 13.3829 | 11.8778 | 13.4068 | 12.0125 | IE_A_PCE_27.07.21_IE_31.2 | 917.1923 | 2.5 | 0.011523 | 15 | 1.2266 | 0.11548 | 0.019247 | 1.5206 | 10.4306 | 1.3791 | 9.6327 | 12.1373 | 3.2273 | 12.2788 | 4.0252
18 | IE_A_PCE_27.07.21_IE_18.1 |  | 493 |  | 553 |  | 1.1217 | [15 empty] | 20 | IE_A_PCE_27.07.21_IE_32.1 | 921 | 921 | 2.5 | 0.0115 | 15 | 1.2242 | 0.11525 | 0.019209 | 0.25293 | 1.7349 | 0.22939 | 1.6022 | 13.4076 | 11.9256 | 13.4312 | 12.0583 | IE_A_PCE_27.07.21_IE_32.1 | 902.5542 | 2.5 | 0.011334 | 15 | 1.2066 | 0.11359 | 0.018932 | 1.4957 | 10.2598 | 1.3565 | 9.475 | 12.1841 | 3.42 | 12.3233 | 4.2049
19 | IE_A_PCE_27.07.21_IE_19.1 |  | 532 |  | 426 |  | 0.80075 | [15 empty] | 21 | IE_A_PCE_27.07.21_IE_32.2 | 871 | 871 | 2.5 | 0.01086 | 15 | 1.1561 | 0.10885 | 0.018141 | 0.23887 | 1.6385 | 0.21664 | 1.5132 | 13.4962 | 12.0965 | 13.5184 | 12.2219 | IE_A_PCE_27.07.21_IE_32.2 | 852.7017 | 2.5 | 0.010692 | 15 | 1.1382 | 0.10715 | 0.017859 | 1.411 | 9.6783 | 1.2796 | 8.938 | 12.3437 | 4.0764 | 12.475 | 4.8167
20 | IE_A_PCE_27.07.21_Blk.3 |  |  |  |  | 122881
21 | IE_A_PCE_27.07.21_IE_19.2 |  | 645 |  | 511 |  | 0.79225
22 | IE_A_PCE_27.07.21_IE_20.1 |  | 515 |  | 370 |  | 0.71845
23 | IE_A_PCE_27.07.21_IE_20.2 |  | 479 |  | 397 |  | 0.82881
24 | IE_A_PCE_27.07.21_IE_21.1 |  | 313 |  |  |  | 0
25 | IE_A_PCE_27.07.21_IE_22.1
26 | IE_A_PCE_27.07.21_IE_23.1 |  | 302 |  |  |  | 0
27 | IE_A_PCE_27.07.21_IE_23.2 |  | 316 |  |  |  | 0
28 | IE_A_PCE_27.07.21_IE_24.1 |  | 308 |  | 414 |  | 1.3442
29 | IE_A_PCE_27.07.21_IE_24.2 |  | 495 |  | 362 |  | 0.73131
05.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM
Injection vol. 50ul
Run no. |  | m/z 166 |  | m/z 164 |  | m/z 150 | 164/166
| Sample ID | SIM_166_auto | RTE_SIM_166 | SIM_164_auto | RTE_SIM_164 | SIM_150_auto | (RTE/RTE)
1 | IE_A_PCE_27.07.21_Blk.0 |  |  |  |  | 77246
2 | IE_A_PCE_27.07.21_Blk.1 |  |  |  |  | 94964
3 | IE_A_PCE_27.07.21_C_Std_1.1 |  | 682 |  | 742 | 105511 | 1.088
4 | IE_A_PCE_27.07.21_C_Std_1.2 |  | 687 |  | 591 | 97232 | 0.86026
5 | IE_A_PCE_27.07.21_C_Std_2.1 |  | 1550 |  | 1261 | 89395 | 0.81355
6 | IE_A_PCE_27.07.21_C_Std_2.2 |  | 1111 |  | 1213 | 71996 | 1.0918
7 | IE_A_PCE_27.07.21_C_Std_3.1 |  | 6550 |  | 4888 | 97223 | 0.74626
8 | IE_A_PCE_27.07.21_C_Std_3.2 |  | 6372 |  | 5023 | 92207 | 0.78829
9 | IE_A_PCE_27.07.21_IE_25.1 |  | 285 |  |  |  | 0
10 | IE_A_PCE_27.07.21_IE_26.1
11 | IE_A_PCE_27.07.21_IE_27.1 |  | 1196 |  | 918 |  | 0.76756
12 | IE_A_PCE_27.07.21_IE_27.2 |  | 1349 |  | 1135 |  | 0.84136
13 | IE_A_PCE_27.07.21_Blk.2 |  |  |  |  | 85961 | #DIV/0!
14 | IE_A_PCE_27.07.21_IE_28.1 |  | 938 |  | 618 |  | 0.65885
15 | IE_A_PCE_27.07.21_IE_28.2 |  | 1068 |  |  |  | 0
16 | IE_A_PCE_27.07.21_IE_29.1
17 | IE_A_PCE_27.07.21_IE_30.1 |  |  |  | 253
18 | IE_A_PCE_27.07.21_IE_31.1 |  | 769 |  | 657 |  | 0.85436
19 | IE_A_PCE_27.07.21_IE_31.2 |  | 935 |  | 778 |  | 0.83209
20 | IE_A_PCE_27.07.21_IE_32.1 |  | 921 |  | 837 |  | 0.90879
21 | IE_A_PCE_27.07.21_IE_32.2 |  | 871 |  | 900 |  | 1.0333

## Processing1
03.08.21 GC-MS Measurement |  |  |  | Henry K_H | 0.59867 | [16 empty] | Gas Volume | Clay-soil | Core top | Core bottom
IE_A from 27.07.21, C_Std and R_Std from 27.06.21 | [22 empty] | Soil 1 | Soil 2 | Soil 3
Method: PCE_T-Ramp_DHSI_SIM | [21 empty] | Bulk density [g/ml] | 1.0716 | 0.80162 | 1.3257
Injection vol. 50ul | [21 empty] | Mass soil [g] | 20 | 20 | 20
|  | Theoret Conc | Measured Signal area | 2021-08-03 | Calibration Standards | Area |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas. | [9 empty] | Bulk Vol soil [ml] | 18.6639 | 24.9496 | 15.0861
Run no. | Sample ID | aq [ppm] | RTE_SIM_166 |  | GC-MS meas. Single | RTE_SIM_166 | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm] | [9 empty] | Solid density [g/ml] | 2.65 | 2.38 | 2.65
1 | IE_A_PCE_27.07.21_Blk.1 | 0 |  |  | IE_A_PCE_27.07.21_Blk.1 |  |  | 0 | 0 | 0 | 0 | 0 | [9 empty] | Volume Solid [ml] | 7.5472 | 8.4034 | 7.5472
2 | IE_A_PCE_27.07.21_Blk.2 | 0 |  |  | IE_A_PCE_27.07.21_Blk.2 |  |  | 0 | 0 | 0 | 0 | 0 | [9 empty] | Pore volume [ml] | 11.1167 | 16.5462 | 7.5389
3 | IE_A_PCE_27.07.21_C_Std_2.1 | 0.1 | 1143 |  | IE_A_PCE_27.07.21_Blk.3 |  |  | 0 | 0 | 0 | 0 | 0 | [9 empty] | Porosity [%] | 59.5628 | 66.3187 | 49.9726
4 | IE_A_PCE_27.07.21_C_Std_2.2 | 0.1 | 1980 |  | IE_A_PCE_27.07.21_Blk.4 | 821 |  | 0 | 0 | 0 | 0 | 0
5 | IE_A_PCE_27.07.21_C_Std_3.1 | 0.5 | 7720 |  | IE_A_PCE_27.07.21_C_Std_1.1 | 909 |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 | [9 empty] | Total vol vial [ml] | 120 | 120 | 120
6 | IE_A_PCE_27.07.21_C_Std_3.2 | 0.5 | 6702 |  | IE_A_PCE_27.07.21_C_Std_1.2 | 947 |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409 | [9 empty] | Porewater vol [ml] | 8 | 6 | 6
7 | IE_A_PCE_27.07.21_C_Std_4.1 | 1 | 14694 |  | IE_A_PCE_27.07.21_C_Std_2.1 | 1143 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482 | [9 empty] | Gas volume [ml] | 104.4528 | 105.5966 | 106.4528
8 | IE_A_PCE_27.07.21_C_Std_4.2 | 1 | 16948 |  | IE_A_PCE_27.07.21_C_Std_2.2 | 1980 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
9 | IE_A_PCE_27.07.21_Blk.3 | 0 |  |  | IE_A_PCE_27.07.21_C_Std_3.1 | 7720 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
10 | IE_A_PCE_27.07.21_IE_1.1 |  | 370 |  | IE_A_PCE_27.07.21_C_Std_3.2 | 6702 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
11 | IE_A_PCE_27.07.21_IE_2.1 |  | 860 |  | IE_A_PCE_27.07.21_C_Std_4.1 | 14694 |  | 1 | 10 | 8.3518 | 1.6482 | 0.16482
12 | IE_A_PCE_27.07.21_IE_3.1 |  | 1443 |  | IE_A_PCE_27.07.21_C_Std_4.2 | 16948 |  | 1 | 10 | 8.3518 | 1.6482 | 0.16482
13 | IE_A_PCE_27.07.21_IE_4.1 |  | 1042
14 | IE_A_PCE_27.07.21_IE_5.1 |  | 361 | [12 empty] | PE_C | Emp. Kd | [8 empty] | PE_C | Emp. Kd
15 | IE_A_PCE_27.07.21_IE_6.1 |  | 1247 | [5 empty] | Calc. Conc. |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance
16 | IE_A_PCE_27.07.21_IE_6.2 |  | 1266 | [5 empty] | w/ Eq. Conc. Gas |  |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss
17 | IE_A_PCE_27.07.21_IE_7.1 |  | 1354 |  | Samples | Area |  | Incub. Conc | by C_Stds. [ppm] |  | Porewater | RTE_SIM_166_A |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp. |  | RTE_SIM_166_B |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp.
18 | IE_A_PCE_27.07.21_IE_7.2 |  | 1158 |  | GC-MS meas. averaged | RTE_SIM_166 | Soil | PCE [ppm] | RTE_SIM_166_A | RTE_SIM_166_B | volume init. | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference) |  | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference)
19 | IE_A_PCE_27.07.21_IE_8.1 |  | 1103 | Blk | IE_A_PCE_27.07.21_IE_1.1 | 370 | 1 | 0 | 0.025505 | 0.012484 | 8 | 0 | 2.6641 | 0.34082 | -3.0049 | 0.70789 |  |  | 3.7128 | -3.7128 |  | 0 | 1.3039 | 0.16682 | -1.4708 | 0.34648 |  |  | 1.8172 | -1.8172
20 | IE_A_PCE_27.07.21_IE_8.2 |  | 1402 |  | IE_A_PCE_27.07.21_IE_2.1 | 860 | 1 | 2.5 | 0.059282 | 0.047424 | 8 | 20 | 6.1921 | 0.79218 | 13.0157 | 1.6454 |  |  | 8.6297 | 11.3703 |  | 20 | 4.9535 | 0.63372 | 14.4127 | 1.3162 |  |  | 6.9035 | 13.0965
21 | IE_A_PCE_27.07.21_Blk.4 | 0 | 821 |  | IE_A_PCE_27.07.21_IE_3.1 | 1443 | 1 | 2.5 | 0.099469 | 0.088995 | 8 | 20 | 10.3898 | 1.3292 | 8.281 | 2.7608 |  |  | 14.4798 | 5.5202 | Mean w/o Blk | 20 | 9.2958 | 1.1892 | 9.515 | 2.4701 |  |  | 12.9551 | 7.0449 | Mean w/o Blk
22 | IE_A_PCE_27.07.21_C_Std_1.1 | 0.05 | 909 |  | IE_A_PCE_27.07.21_IE_4.1 | 1042 | 1 | 2.5 | 0.071827 | 0.060401 | 8 | 20 | 7.5026 | 0.95982 | 11.5376 | 1.9936 |  |  | 10.456 | 9.544 | 8.8115 | 20 | 6.3091 | 0.80714 | 12.8838 | 1.6764 |  |  | 8.7927 | 11.2073 | 10.4496
23 | IE_A_PCE_27.07.21_C_Std_1.2 | 0.05 | 947 | Blk | IE_A_PCE_27.07.21_IE_5.1 | 361 | 1 | 0 | 0.024885 | 0.011842 | 8 | 0 | 2.5993 | 0.33253 | -2.9318 | 0.69067 |  |  | 3.6225 | -3.6225 |  | 0 | 1.2369 | 0.15824 | -1.3952 | 0.32867 |  |  | 1.7238 | -1.7238
24 | IE_A_PCE_27.07.21_IE_9.1 |  | 281 |  | IE_A_PCE_27.07.21_IE_6.1 | 1247 | 1 | 2.5 | 0.085959 | 0.075019 | 8 | 20 | 8.9786 | 1.1487 | 9.8727 | 2.3858 |  |  | 12.513 | 7.487 |  | 20 | 7.836 | 1.0025 | 11.1616 | 2.0822 |  |  | 10.9206 | 9.0794
25 | IE_A_PCE_27.07.21_IE_10.1 |  | 1061 |  | IE_A_PCE_27.07.21_IE_6.2 | 1266 | 1 | 2.5 | 0.087268 | 0.076374 | 8 | 20 | 9.1154 | 1.1662 | 9.7184 | 2.4221 |  |  | 12.7037 | 7.2963 |  | 20 | 7.9775 | 1.0206 | 11.0019 | 2.1198 |  |  | 11.1178 | 8.8822
26 | IE_A_PCE_27.07.21_IE_11.1 |  | 856 |  | IE_A_PCE_27.07.21_IE_7.1 | 1354 | 1 | 2.5 | 0.093334 | 0.082649 | 8 | 20 | 9.749 | 1.2472 | 9.0038 | 2.5905 |  |  | 13.5867 | 6.4133 |  | 20 | 8.6329 | 1.1044 | 10.2626 | 2.2939 |  |  | 12.0313 | 7.9687
27 | IE_A_PCE_27.07.21_IE_12.1 |  | 1476 |  | IE_A_PCE_27.07.21_IE_7.2 | 1158 | 1 | 2.5 | 0.079824 | 0.068673 | 8 | 20 | 8.3378 | 1.0667 | 10.5955 | 2.2155 |  |  | 11.62 | 8.38 |  | 20 | 7.1731 | 0.91767 | 11.9092 | 1.906 |  |  | 9.9968 | 10.0032
[5 empty] | IE_A_PCE_27.07.21_IE_8.1 | 1103 | 1 | 2.5 | 0.076032 | 0.064751 | 8 | 20 | 7.9418 | 1.016 | 11.0422 | 2.1103 |  |  | 11.0681 | 8.9319 | Mean w/o Blk | 20 | 6.7634 | 0.86526 | 12.3713 | 1.7972 |  |  | 9.4259 | 10.5741 | Mean w/o Blk
[5 empty] | IE_A_PCE_27.07.21_IE_8.2 | 1402 | 1 | 2.5 | 0.096643 | 0.086072 | 8 | 20 | 10.0946 | 1.2914 | 8.6139 | 2.6823 |  |  | 14.0684 | 5.9316 | 7.4067 | 20 | 8.9904 | 1.1502 | 9.8594 | 2.3889 |  |  | 12.5295 | 7.4705 | 8.9964
|  |  |  | Blk | IE_A_PCE_27.07.21_IE_9.1 | 281 | 1 | 0 | 0.01937 | 0.0061373 | 8 | 0 | 2.0232 | 0.25884 | -2.2821 | 0.53761 |  |  | 2.8197 | -2.8197 |  | 0 | 0.64106 | 0.082013 | -0.72307 | 0.17034 |  |  | 0.89342 | -0.89342
[5 empty] | IE_A_PCE_27.07.21_IE_10.1 | 1061 | 1 | 2.5 | 0.073137 | 0.061756 | 8 | 20 | 7.6394 | 0.97732 | 11.3833 | 2.0299 |  |  | 10.6466 | 9.3534 |  | 20 | 6.4506 | 0.82524 | 12.7241 | 1.714 |  |  | 8.9899 | 11.0101
[5 empty] | IE_A_PCE_27.07.21_IE_11.1 | 856 | 1 | 2.5 | 0.059006 | 0.047138 | 8 | 20 | 6.1633 | 0.78849 | 13.0482 | 1.6377 |  |  | 8.5895 | 11.4105 | Mean w/o Blk | 20 | 4.9237 | 0.62991 | 14.4463 | 1.3083 |  |  | 6.862 | 13.138 | Mean w/o Blk
[5 empty] | IE_A_PCE_27.07.21_IE_12.1 | 1476 | 1 | 2.5 | 0.10174 | 0.091348 | 8 | 20 | 10.6274 | 1.3596 | 8.013 | 2.8239 |  |  | 14.8109 | 5.1891 | 8.651 | 20 | 9.5416 | 1.2207 | 9.2377 | 2.5354 |  |  | 13.2976 | 6.7024 | 10.2835
04.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21
Method: PCE_T-Ramp_DHSI_SIM
Injection vol. 50ul
|  | Theoret Conc | Measured Signal area | 2021-08-04 | Calibration Standards | Area |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas.
Run no. | Sample ID | aq [ppm] | RTE_SIM_166 |  | GC-MS meas. Single | RTE_SIM_166 | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm]
1 | IE_A_PCE_27.07.21_Blk.0 | 0 |  |  | IE_A_PCE_27.07.21_Blk.0 |  |  | 0 | 0 | 0 | 0 | 0
2 | IE_A_PCE_27.07.21_Blk.1 | 0 |  |  | IE_A_PCE_27.07.21_Blk.1 |  |  | 0 | 0 | 0 | 0 | 0
3 | IE_A_PCE_27.07.21_C_Std_1.1 | 0.05 | 911 |  | IE_A_PCE_27.07.21_Blk.2 |  |  | 0 | 0 | 0 | 0 | 0
4 | IE_A_PCE_27.07.21_C_Std_1.2 | 0.05 |  |  | IE_A_PCE_27.07.21_Blk.3 |  |  | 0 | 0 | 0 | 0 | 0
5 | IE_A_PCE_27.07.21_C_Std_2.1 | 0.1 | 1828 |  | IE_A_PCE_27.07.21_C_Std_1.1 | 911 |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409
6 | IE_A_PCE_27.07.21_C_Std_2.2 | 0.1 | 6758 |  | IE_A_PCE_27.07.21_C_Std_1.2 |  |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409
7 | IE_A_PCE_27.07.21_C_Std_3.1 | 0.5 | 11925 |  | IE_A_PCE_27.07.21_C_Std_2.1 | 1828 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
8 | IE_A_PCE_27.07.21_C_Std_3.2 | 0.5 | 9251 |  | IE_A_PCE_27.07.21_C_Std_2.2 | 6758 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
9 | IE_A_PCE_27.07.21_Blk.2 | 0 |  |  | IE_A_PCE_27.07.21_C_Std_3.1 | 11925 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
10 | IE_A_PCE_27.07.21_IE_13.1 |  |  |  | IE_A_PCE_27.07.21_C_Std_3.2 | 9251 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
11 | IE_A_PCE_27.07.21_IE_14.1 |  | 1239
12 | IE_A_PCE_27.07.21_IE_14.2 |  | 1579 | [12 empty] | PE_C | Emp. Kd | [8 empty] | PE_C | Emp. Kd
13 | IE_A_PCE_27.07.21_IE_15.1 |  | 1409 | [5 empty] | Calc. Conc. |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance
14 | IE_A_PCE_27.07.21_IE_15.2 |  | 1485 | [5 empty] | w/ Eq. Conc. Gas |  |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss
15 | IE_A_PCE_27.07.21_IE_16.1 |  | 1496 |  | Samples | Area |  | Incub. Conc | Calibr. A | Calibr. B | Porewater | RTE_SIM_166_A |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp. |  | RTE_SIM_166_B |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp.
16 | IE_A_PCE_27.07.21_IE_16.2 |  | 1228 |  | GC-MS meas. averaged | RTE_SIM_166 | Soil | PCE [ppm] | RTE_SIM_166_A | RTE_SIM_166_B | volume init. | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference) |  | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference)
17 | IE_A_PCE_27.07.21_IE_17.1 |  | 487 | Blk | IE_A_PCE_27.07.21_IE_13.1 |  | 1 | 0 | 0 | 0.011569 | 8 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 1.2084 | 0.15459 | -1.363 | 0.32109 |  |  | 1.6841 | -1.6841
18 | IE_A_PCE_27.07.21_IE_18.1 |  | 493 |  | IE_A_PCE_27.07.21_IE_14.1 | 1239 | 1 | 2.5 | 0.058706 | 0.06875 | 8 | 20 | 6.1321 | 0.78449 | 13.0835 | 1.6294 |  |  | 8.5459 | 11.4541 |  | 20 | 7.1811 | 0.9187 | 11.9002 | 1.9081 |  |  | 10.0079 | 9.9921
19 | IE_A_PCE_27.07.21_IE_19.1 |  | 532 |  | IE_A_PCE_27.07.21_IE_14.2 | 1579 | 1 | 2.5 | 0.074816 | 0.084441 | 8 | 20 | 7.8148 | 0.99976 | 11.1855 | 2.0765 |  |  | 10.8911 | 9.1089 |  | 20 | 8.8201 | 1.1284 | 10.0515 | 2.3437 |  |  | 12.2921 | 7.7079
20 | IE_A_PCE_27.07.21_Blk.3 | 0 |  |  | IE_A_PCE_27.07.21_IE_15.1 | 1409 | 1 | 2.5 | 0.066761 | 0.076595 | 8 | 20 | 6.9734 | 0.89213 | 12.1345 | 1.853 |  |  | 9.7185 | 10.2815 |  | 20 | 8.0006 | 1.0235 | 10.9759 | 2.1259 |  |  | 11.15 | 8.85
21 | IE_A_PCE_27.07.21_IE_19.2 |  | 645 |  | IE_A_PCE_27.07.21_IE_15.2 | 1485 | 1 | 2.5 | 0.070362 | 0.080103 | 8 | 20 | 7.3496 | 0.94025 | 11.7102 | 1.9529 |  |  | 10.2427 | 9.7573 |  | 20 | 8.367 | 1.0704 | 10.5626 | 2.2232 |  |  | 11.6606 | 8.3394
22 | IE_A_PCE_27.07.21_IE_20.1 |  | 515 |  | IE_A_PCE_27.07.21_IE_16.1 | 1496 | 1 | 2.5 | 0.070884 | 0.080611 | 8 | 20 | 7.404 | 0.94721 | 11.6488 | 1.9674 |  |  | 10.3186 | 9.6814 | Mean w/o Blk | 20 | 8.42 | 1.0772 | 10.5028 | 2.2373 |  |  | 11.7345 | 8.2655 | Mean w/o Blk
23 | IE_A_PCE_27.07.21_IE_20.2 |  | 479 |  | IE_A_PCE_27.07.21_IE_16.2 | 1228 | 1 | 2.5 | 0.058185 | 0.068242 | 8 | 20 | 6.0776 | 0.77752 | 13.1449 | 1.6149 |  |  | 8.4701 | 11.5299 | 10.3022 | 20 | 7.1281 | 0.91191 | 11.96 | 1.8941 |  |  | 9.934 | 10.066 | 8.8701
24 | IE_A_PCE_27.07.21_IE_21.1 |  | 313 | Blk | IE_A_PCE_27.07.21_IE_17.1 | 0 | 2 | 0 | 0 | 0.011569 | 6 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 1.2216 | 0.11594 | -1.3376 |  | 6.9551 |  | 8.2927 | -8.2927
25 | IE_A_PCE_27.07.21_IE_22.1 |  |  | Blk | IE_A_PCE_27.07.21_IE_18.1 | 493 | 2 | 0 | 0.023359 | 0.034321 | 6 | 0 | 2.4667 | 0.23411 | -2.7008 |  | 14.0438 |  | 16.7446 | -16.7446 |  | 0 | 3.6242 | 0.34397 | -3.9682 |  | 20.634 |  | 24.6022 | -24.6022
26 | IE_A_PCE_27.07.21_IE_23.1 |  | 302 |  | IE_A_PCE_27.07.21_IE_19.1 | 532 | 2 | 2.5 | 0.025207 | 0.036121 | 6 | 15 | 2.6618 | 0.25263 | 12.0856 |  | 15.1548 |  | 18.0692 | -3.0692 |  | 15 | 3.8143 | 0.36201 | 10.8237 |  | 21.7161 |  | 25.8924 | -10.8924
27 | IE_A_PCE_27.07.21_IE_23.2 |  | 316 |  | IE_A_PCE_27.07.21_IE_19.2 | 645 | 2 | 2.5 | 0.030561 | 0.041336 | 6 | 15 | 3.2272 | 0.30629 | 11.4665 |  | 18.3737 |  | 21.9072 | -6.9072 |  | 15 | 4.365 | 0.41428 | 10.2208 |  | 24.8515 |  | 29.6307 | -14.6307
28 | IE_A_PCE_27.07.21_IE_24.1 |  | 308 |  | IE_A_PCE_27.07.21_IE_20.1 | 515 | 2 | 2.5 | 0.024402 | 0.035336 | 6 | 15 | 2.5767 | 0.24456 | 12.1787 |  | 14.6705 |  | 17.4918 | -2.4918 | Mean w/o Blk | 15 | 3.7314 | 0.35415 | 10.9144 |  | 21.2445 |  | 25.33 | -10.33 | Mean w/o Blk
29 | IE_A_PCE_27.07.21_IE_24.2 |  | 495 |  | IE_A_PCE_27.07.21_IE_20.2 | 479 | 2 | 2.5 | 0.022696 | 0.033675 | 6 | 15 | 2.3966 | 0.22746 | 12.3759 |  | 13.645 |  | 16.2691 | -1.2691 | -3.4343 | 15 | 3.556 | 0.3375 | 11.1065 |  | 20.2456 |  | 24.1391 | -9.1391 | -11.248
|  |  |  | Blk | IE_A_PCE_27.07.21_IE_21.1 | 313 | 2 | 0 | 0.014831 | 0.026014 | 6 | 0 | 1.5661 | 0.14864 | -1.7147 |  | 8.9162 |  | 10.6309 | -10.6309 |  | 0 | 2.747 | 0.26072 | -3.0077 |  | 15.6397 |  | 18.6474 | -18.6474
|  |  |  | Blk | IE_A_PCE_27.07.21_IE_22.1 |  | 2 | 0 | 0 | 0.011569 | 6 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 1.2216 | 0.11594 | -1.3376 |  | 6.9551 |  | 8.2927 | -8.2927
[5 empty] | IE_A_PCE_27.07.21_IE_23.1 | 302 | 2 | 2.5 | 0.014309 | 0.025506 | 6 | 15 | 1.511 | 0.14341 | 13.3456 |  | 8.6029 |  | 10.2573 | 4.7427 |  | 15 | 2.6934 | 0.25563 | 12.051 |  | 15.3345 |  | 18.2835 | -3.2835
[5 empty] | IE_A_PCE_27.07.21_IE_23.2 | 316 | 2 | 2.5 | 0.014973 | 0.026152 | 6 | 15 | 1.5811 | 0.15006 | 13.2689 |  | 9.0017 |  | 10.7328 | 4.2672 |  | 15 | 2.7616 | 0.2621 | 11.9763 |  | 15.723 |  | 18.7467 | -3.7467
[5 empty] | IE_A_PCE_27.07.21_IE_24.1 | 308 | 2 | 2.5 | 0.014594 | 0.025783 | 6 | 15 | 1.541 | 0.14626 | 13.3127 |  | 8.7738 |  | 10.4611 | 4.5389 | Mean w/o Blk | 15 | 2.7226 | 0.2584 | 12.019 |  | 15.501 |  | 18.482 | -3.482 | Mean w/o Blk
[5 empty] | IE_A_PCE_27.07.21_IE_24.2 | 495 | 2 | 2.5 | 0.023454 | 0.034413 | 6 | 15 | 2.4767 | 0.23506 | 12.2883 |  | 14.1008 |  | 16.8125 | -1.8125 | 2.9341 | 15 | 3.6339 | 0.3449 | 11.0212 |  | 20.6895 |  | 24.6684 | -9.6684 | -5.0451
05.08.21 GC-MS Measurement
IE_A from 27.07.21, C_Std and R_Std from 27.06.21 |  |  |  | 2021-08-05 | Calibration Standards | Area |  | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas.
Method: PCE_T-Ramp_DHSI_SIM |  |  |  |  | GC-MS meas. Single | RTE_SIM_166 | SIM_166_auto | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm]
Injection vol. 50ul |  |  |  |  | IE_A_PCE_27.07.21_Blk.0 |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | IE_A_PCE_27.07.21_Blk.1 |  |  | 0 | 0 | 0 | 0 | 0
Run no. |  | Theoret Conc | Measured Signal area |  | IE_A_PCE_27.07.21_Blk.2 |  |  | 0 | 0 | 0 | 0 | 0
| Sample ID | aq [ppm] | RTE_SIM_166 |  | IE_A_PCE_27.07.21_C_Std_1.1 | 682 |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409
1 | IE_A_PCE_27.07.21_Blk.0 | 0 |  |  | IE_A_PCE_27.07.21_C_Std_1.2 | 687 |  | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409
2 | IE_A_PCE_27.07.21_Blk.1 | 0 |  |  | IE_A_PCE_27.07.21_C_Std_2.1 | 1550 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
3 | IE_A_PCE_27.07.21_C_Std_1.1 | 0.05 | 682 |  | IE_A_PCE_27.07.21_C_Std_2.2 | 1111 |  | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
4 | IE_A_PCE_27.07.21_C_Std_1.2 | 0.05 | 687 |  | IE_A_PCE_27.07.21_C_Std_3.1 | 6550 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
5 | IE_A_PCE_27.07.21_C_Std_2.1 | 0.1 | 1550 |  | IE_A_PCE_27.07.21_C_Std_3.2 | 6372 |  | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
6 | IE_A_PCE_27.07.21_C_Std_2.2 | 0.1 | 1111
7 | IE_A_PCE_27.07.21_C_Std_3.1 | 0.5 | 6550 | [12 empty] | Emp. Kd | Emp. Kd | [8 empty] | PE_C | Emp. Kd
8 | IE_A_PCE_27.07.21_C_Std_3.2 | 0.5 | 6372 | [5 empty] | Calc. Conc. |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance |  |  | Calc. Mass |  |  |  | Soil 1 | Soil 2 | Soil 3 | Mass Balance
9 | IE_A_PCE_27.07.21_IE_25.1 |  | 285 | [5 empty] | w/ Eq. Conc. Gas |  |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss |  | w/ Eq. Conc. Gas | Gas volume computed |  | PE_C_Comp. | 0.8308 | 17.9962 | 0.67558 | Sum | Loss
10 | IE_A_PCE_27.07.21_IE_26.1 |  |  |  | Samples | Area |  | Incub. Conc | by C_Stds. [ppm] |  | Porewater | RTE_SIM_166_A |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp. |  | RTE_SIM_166_B |  |  | PE_C_Graph. | 0.9127 | 17.674 | 0.6112 | Comp. Phases | Init. - Comp.
11 | IE_A_PCE_27.07.21_IE_27.1 |  | 1196 |  | GC-MS meas. averaged | RTE_SIM_166 | Soil | PCE [ppm] | RTE_SIM_166_A | RTE_SIM_166_B | volume init. | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference) |  | Total init. [ug] | in Gas [ug] | In Aq. [ug] | Loss [ug] | Mass | in Solid [ug] |  | Comp. | (Difference)
12 | IE_A_PCE_27.07.21_IE_27.2 |  | 1349 | Blk | IE_A_PCE_27.07.21_IE_25.1 | 285 | 3 | 0 | 0.022018 | 0.018708 | 6 | 0 | 2.3439 | 0.22067 | -2.5645 |  |  | 0.49693 | 3.0615 | -3.0615 |  | 0 | 1.9915 | 0.18749 | -2.179 |  |  | 0.42223 | 2.6012 | -2.6012
13 | IE_A_PCE_27.07.21_Blk.2 | 0 |  | Blk | IE_A_PCE_27.07.21_IE_26.1 |  | 3 | 0 | 0 | -0.0035004 | 6 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | -0.37263 | -0.035082 | 0.40771 |  |  | -0.079003 | -0.48672 | 0.48672
14 | IE_A_PCE_27.07.21_IE_28.1 |  | 938 |  | IE_A_PCE_27.07.21_IE_27.1 | 1196 | 3 | 2.5 | 0.092398 | 0.089697 | 6 | 15 | 9.836 | 0.92603 | 4.2379 |  |  | 2.0854 | 12.8474 | 2.1526 |  | 15 | 9.5485 | 0.89896 | 4.5526 |  |  | 2.0244 | 12.4718 | 2.5282
15 | IE_A_PCE_27.07.21_IE_28.2 |  | 1068 |  | IE_A_PCE_27.07.21_IE_27.2 | 1349 | 3 | 2.5 | 0.10422 | 0.10162 | 6 | 15 | 11.0943 | 1.0445 | 2.8612 |  |  | 2.3521 | 14.491 | 0.50904 |  | 15 | 10.8176 | 1.0184 | 3.1639 |  |  | 2.2935 | 14.1296 | 0.87042
16 | IE_A_PCE_27.07.21_IE_29.1 |  |  |  | IE_A_PCE_27.07.21_IE_28.1 | 938 | 3 | 2.5 | 0.072466 | 0.069592 | 6 | 15 | 7.7142 | 0.72627 | 6.5595 |  |  | 1.6355 | 10.076 | 4.924 | Mean w/o Blk | 15 | 7.4083 | 0.69747 | 6.8942 |  |  | 1.5707 | 9.6764 | 5.3236 | Mean w/o Blk
17 | IE_A_PCE_27.07.21_IE_30.1 |  |  |  | IE_A_PCE_27.07.21_IE_28.2 | 1068 | 3 | 2.5 | 0.082509 | 0.079723 | 6 | 15 | 8.7833 | 0.82692 | 5.3897 |  |  | 1.8622 | 11.4725 | 3.5275 | 2.7783 | 15 | 8.4867 | 0.79899 | 5.7143 |  |  | 1.7993 | 11.085 | 3.915 | 3.1593
18 | IE_A_PCE_27.07.21_IE_31.1 |  | 769 | Blk | IE_A_PCE_27.07.21_IE_29.1 |  | 3 | 0 | 0 | -0.0035004 | 6 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | -0.37263 | -0.035082 | 0.40771 |  |  | -0.079003 | -0.48672 | 0.48672
19 | IE_A_PCE_27.07.21_IE_31.2 |  | 935 | Blk | IE_A_PCE_27.07.21_IE_30.1 |  | 3 | 0 | 0 | -0.0035004 | 6 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | -0.37263 | -0.035082 | 0.40771 |  |  | -0.079003 | -0.48672 | 0.48672
20 | IE_A_PCE_27.07.21_IE_32.1 |  | 921 |  | IE_A_PCE_27.07.21_IE_31.1 | 769 | 3 | 2.5 | 0.05941 | 0.056423 | 6 | 15 | 6.3243 | 0.59542 | 8.0802 |  |  | 1.3408 | 8.2606 | 6.7394 |  | 15 | 6.0064 | 0.56548 | 8.4281 |  |  | 1.2734 | 7.8453 | 7.1547
21 | IE_A_PCE_27.07.21_IE_32.2 |  | 871 |  | IE_A_PCE_27.07.21_IE_31.2 | 935 | 3 | 2.5 | 0.072234 | 0.069359 | 6 | 15 | 7.6895 | 0.72394 | 6.5865 |  |  | 1.6303 | 10.0438 | 4.9562 |  | 15 | 7.3834 | 0.69512 | 6.9215 |  |  | 1.5654 | 9.6439 | 5.3561
[5 empty] | IE_A_PCE_27.07.21_IE_32.1 | 921 | 3 | 2.5 | 0.071153 | 0.068268 | 6 | 15 | 7.5744 | 0.7131 | 6.7125 |  |  | 1.6059 | 9.8934 | 5.1066 | Mean w/o Blk | 15 | 7.2673 | 0.68419 | 7.0485 |  |  | 1.5408 | 9.4922 | 5.5078 | Mean w/o Blk
[5 empty] | IE_A_PCE_27.07.21_IE_32.2 | 871 | 3 | 2.5 | 0.06729 | 0.064371 | 6 | 15 | 7.1632 | 0.67439 | 7.1624 |  |  | 1.5187 | 9.3563 | 5.6437 | 5.6115 | 15 | 6.8525 | 0.64514 | 7.5023 |  |  | 1.4528 | 8.9505 | 6.0495 | 6.017