## raw_data
21.07.21 GC-MS Measurement |  |  |  | Int.Std.: PCNB | 5 ul of 10 ng/ul |  |  | Comment | Interesting peaks
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 19.07.21 | [8 empty] | Slight signal, bc forgot to clean inject. Syringe properly
Method: PFAS_Li-Sun.m |  | Integration by | [6 empty] | Or residual from previous high Std
Injection vol. 1ul |  | ChemStation | [8 empty] | Theor. Conc [ppm]
|  | m/z 293 | Int. Std. |  | m/z 525 |  |  | m/z 526 |  |  | PFOA
Run no. | Sample ID | RT | SIM_293 | SIM_293_auto | RT | SIM_525 | SIM_525_auto | RT | SIM_526 | SIM_526_auto | in n-Hex | init. aq. Sol
1 | PE_C_PFAS_19.07_10_Blk.1 | 15.857 | 0 | 38264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | PE_C_PFAS_19.07_10_Blk.2 | 15.856 | 0 | 65110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | PE_C_PFAS_19.07_1_C_Std_1.1 | 15.857 | 116897 | 119732 | 10.801 | 147234 | 147234 | 10.8 | 0 | 22235 | 0.25 | 0.05
4 | PE_C_PFAS_19.07_1_C_Std_1.2 | 15.856 | 195703 | 193499 | 10.801 | 165600 | 166507 | 10.801 | 0 | 25684 | 0.25 | 0.05
5 | PE_C_PFAS_19.07_2_C_Std_2.1 | 15.856 | 189035 | 189035 | 10.804 | 1032350 | 1029277 | 10.804 | 158172 | 158675 | 2.5 | 0.5
6 | PE_C_PFAS_19.07_2_C_Std_2.2 | 15.857 | 129087 | 130713 | 10.804 | 1133164 | 1130208 | 10.803 | 173081 | 174886 | 2.5 | 0.5
7 | PE_C_PFAS_19.07_3_C_Std_3.1 | 15.856 | 0 | 55934 | 10.805 | 1925128 | - | 10.804 | 293388 | 294101 | 5 | 1
8 | PE_C_PFAS_19.07_3_C_Std_3.2 | 15.857 | 0 | 70546 | 10.804 | 2193130 | 2188019 | 10.804 | 335306 | 335306 | 5 | 1 |  | Computed Conc
9 | PE_C_PFAS_19.07_10_Blk.3 | 15.858 | 0 | 43590 | 10.805 | 0 | 29635 | 0 | 0 | 0 | 0 | 0 |  | n.hex [ppm]
[14 empty] | SIM_525 | SIM_525_auto
10 | PE_C_PFAS_19.07_4_1.1.1 | 15.857 | 0 | 65196 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0
11 | PE_C_PFAS_19.07_4_1.1.2 | 15.856 | 123905 | 123905 | 10.805 | 0 | 23045 | 0 | 0 | 0 |  |  |  | 0 | 0.055448
12 | PE_C_PFAS_19.07_5_1.2.1 | 15.856 | 98959 | 99791 | 10.804 | 1361993 | 1361265 | 10.804 | 207743 | 207955 |  |  |  | 3.2701 | 3.2753
13 | PE_C_PFAS_19.07_5_1.2.2 | 15.857 | 151298 | 159019 | 10.806 | 977365 | 974234 | 10.806 | 150703 | 150703 |  |  |  | 2.3466 | 2.3441
14 | PE_C_PFAS_19.07_6_1.3.1 | 15.857 | 92829 | 92829 | 10.805 | 1252674 | 1251788 | 10.804 | 191165 | 191165 |  |  |  | 3.0076 | 3.0119
15 | PE_C_PFAS_19.07_6_1.3.2 | 15.857 | 114641 | 115192 | 10.8 | 1540315 | 1536717 | 10.799 | 229657 | 231656 |  |  |  | 3.6982 | 3.6975
16 | PE_C_PFAS_19.07_7_1.4.1 | 15.858 | 211160 | 211160 | 10.806 | 1558261 | 1551785 | 10.806 | 239233 | 240273 |  |  |  | 3.7413 | 3.7337
17 | PE_C_PFAS_19.07_7_1.4.2 | 15.857 | 160474 | 160474 | 10.807 | 1113566 | 1113566 | 10.807 | 170663 | 170663 |  |  |  | 2.6736 | 2.6793
18 | PE_C_PFAS_19.07_8_2.1.1 | 15.856 | 102334 | 104145 | 10.804 | 0 | 12974 | 0 | 0 | 0 |  |  |  | 0 | 0.031217
19 | PE_C_PFAS_19.07_8_2.1.2 | 15.856 | 100756 | 101240 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0
20 | PE_C_PFAS_19.07_10_Blk.4 | 15.856 | 0 | 77347 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0
21 | PE_C_PFAS_19.07_9_2.2.1_trial | 15.857 | 171232 | 171232 | 10.803 | 740297 | 742462 | 10.804 | 0 | 114091 | w/ 2ul inj.vol. |  |  | 1.7774 | 1.7864
22 | PE_C_PFAS_19.07_9_2.2.2_trial | 15.858 | 0 | 63720 | 10.805 | 362102 | 364151 | 10.804 | 0 | 52295 | w/ 1ul inj.vol. |  |  | 0.86939 | 0.87618
Derivat. Messed up - repeat in next run
23.07.21 GC-MS Measurement |  |  |  | Int.Std.: PCNB | 5 ul of 10 ng/ul |  |  | Comment | Interesting peaks
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 22.07.21 | [8 empty] | Slight signal, bc forgot to clean inject. Syringe properly
Method: PFAS_Li-Sun.m |  | Integration by | [6 empty] | Or residual from previous high Std
Injection vol. 1ul |  | ChemStation | [8 empty] | Theor. Conc [ppm]
|  | m/z 293 | Int. Std. |  | m/z 525 |  |  | m/z 526 |  |  | PFOA
Run no. | Sample ID | RT | SIM_293 | SIM_293_auto | RT | SIM_525 | SIM_525_auto | RT | SIM_526 | SIM_526_auto | in n-Hex | init. aq. Sol
1 | PE_C_PFAS_22.07_11_Blk.1 | 15.857 | 297809 | 297809 | 10.798 | 0 | 49515 | 0 | 0 | 0 | 0 | 0
2 | PE_C_PFAS_22.07_11_Blk.2 | 15.857 | 515182 | 510487 | 10.805 | 0 | 39546 | 0 | 0 | 0 | 0 | 0
3 | PE_C_PFAS_22.07_1_C_Std_1.1 | 15.859 | 977825 | 977825 | 10.803 | 347718 | 347976 | 10.804 | 0 | 51489 | 0.25 | 0.05
4 | PE_C_PFAS_22.07_1_C_Std_1.2 | 15.857 | 274808 | 274808 | 10.807 | 402171 | 403080 | 10.806 | 0 | 62620 | 0.25 | 0.05
5 | PE_C_PFAS_22.07_2_C_Std_2.1 | 15.856 | 276015 | 276015 | 10.807 | 2884696 | 2875301 | 10.808 | 434846 | 434846 | 2.5 | 0.5
6 | PE_C_PFAS_22.07_2_C_Std_2.2 | 15.858 | 534860 | 534221 | 10.808 | 2026440 | 2022114 | 10.808 | 312340 | 312340 | 2.5 | 0.5
7 | PE_C_PFAS_22.07_3_C_Std_3.1 | 15.857 | 552323 | 552323 | 10.808 | 4948429 | 4934383 | 10.807 | 750177 | 750177 | 5 | 1
8 | PE_C_PFAS_22.07_3_C_Std_3.2 | 15.857 | 843229 | 842853 | 10.81 | 4638103 | 4628932 | 10.81 | 701083 | 701083 | 5 | 1 |  | Computed Conc
9 | PE_C_PFAS_22.07_11_Blk.3 | 15.858 | 923140 | 918832 | 10.807 | 542945 | 545084 | 10.807 | 0 | 82610 | 0 | 0 |  | n.hex [ppm]
[14 empty] | SIM_525 | SIM_525_auto
10 | PE_C_PFAS_22.07_4_2.2.1 | 15.858 | 755962 | 751169 | 10.785 | 408598 | 411605 | 10.784 | 0 | 62234 |  |  |  | 0.42366 | 0.42785
11 | PE_C_PFAS_22.07_4_2.2.2 | 15.857 | 444853 | 444853 | 10.807 | 764937 | 764937 | 10.807 | 0 | 114769 |  |  |  | 0.79314 | 0.79512
12 | PE_C_PFAS_22.07_5_2.3.1 | 15.857 | 684842 | 684304 | 10.804 | 379764 | 380956 | 10.803 | 0 | 55853 |  |  |  | 0.39377 | 0.39599
13 | PE_C_PFAS_22.07_5_2.3.2 | 15.857 | 379132 | 379132 | 10.808 | 320750 | 322616 | 10.808 | 0 | 48005 |  |  |  | 0.33258 | 0.33535
14 | PE_C_PFAS_22.07_6_2.4.1 | 15.859 | 705590 | 705590 | 10.813 | 435019 | 435019 | 10.812 | 0 | 65597 |  |  |  | Calibration Standards | Area | Init. Conc. Aq. | Init. Mass Aq. | Eq. Mass Aq. | Eq. Mass Gas | Eq. Conc. Gas.
15 | PE_C_PFAS_22.07_6_2.4.2 | 15.859 | 378974 | 378974 | 10.813 | 580435 | 581254 | 10.812 | 0 | 87729 |  |  |  | GC-MS meas. averaged | SIM_166 | PCE [ppm] | PCE [ug] | PCE [ug] | PCE [ug] | PCE [ppm]
16 | PE_C_PFAS_22.07_7_3.1.1 | 15.86 | 554397 | 553196 | 10.797 | 0 | 19244 | 0 | 0 | 0 |  |  | 2021-06-29 | PE_B_PCE_C_Std_28.06_Blk | 0 | 0 | 0 | 0 | 0 | 0
17 | PE_C_PFAS_22.07_7_3.1.2 | 15.859 | 391786 | 391786 | 10.816 | 0 | 17486 | 0 | 0 | 0 |  |  |  | PE_B_PCE_C_Std_28.06_1 | 0 | 0.05 | 0.5 | 0.41759 | 0.082409 | 0.0082409
18 | PE_C_PFAS_22.07_8_3.2.1 | 15.861 | 943081 | 943081 | 10.815 | 1565204 | 1560896 | 10.815 | 235608 | 236756 |  |  |  | PE_B_PCE_C_Std_28.06_2 | 120460 | 0.1 | 1 | 0.83518 | 0.16482 | 0.016482
19 | PE_C_PFAS_22.07_8_3.2.2 | 15.857 | 493965 | 493965 | 10.81 | 1915049 | 1911200 | 10.809 | 289107 | 289107 |  |  |  | PE_B_PCE_C_Std_28.06_3 | 675632.5 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
20 | PE_C_PFAS_22.07_11_Blk.4 | 15.861 | 1278350 | 1272967 | 10.807 | 0 | 84578 | 10.806 | 0 | 12501 | 0 | 0 |  | PE_B_PCE_C_Std_28.06_4 | 1435639.5 | 1 | 10 | 8.3518 | 1.6482 | 0.16482
21 | PE_C_PFAS_22.07_9_3.3.1 | 15.859 | 956299 | 963316 | 10.812 | 1488547 | 1485173 | 10.812 | 0 | 225956 |  |  | 2021-06-30 | PE_B_PCE_C_Std_28.06_Blk | 0 | 0 | 0 | 0 | 0 | 0
22 | PE_C_PFAS_22.07_9_3.3.2 | 15.858 | 753380 | 753380 | 10.812 | 1731437 | 1728790 | 10.812 | 260819 | 260819 |  |  |  | PE_B_PCE_C_Std_28.06_3 | 508815 | 0.5 | 5 | 4.1759 | 0.82409 | 0.082409
23 | PE_C_PFAS_22.07_10_3.4.1 | 15.857 | 356445 | 356297 | 10.804 | 1357431 | 1355616 | 10.804 | 202123 | 202123 |  |  |  | PE_B_PCE_C_Std_28.06_4 | 916837.5 | 1 | 10 | 8.3518 | 1.6482 | 0.16482
24 | PE_C_PFAS_22.07_10_3.4.2 | 15.857 | 278183 | 278183 | 10.814 | 1209075 | 1204691 | 10.814 | 184788 | 184788 |  |  |  | PE_B_PCE_C_Std_28.06_5 | 4883471 | 5 | 50 | 41.7591 | 8.2409 | 0.82409

## Processing_final
21.07.21 GC-MS Measurement | [9 empty] | Correction: | [7 empty] | Correction: | [9 empty] | Soil 1 | Soil 2 | Soil 3 |  |  |  | Soil mass [g] | 20 |  |  |  |  | Means | Calibration A)
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 19.07.21 | [9 empty] | Drift Correction | [6 empty] | 1st | Drift Correction | (Instrument) | Apply on area | [6 empty] | Orig. Vol. | 8 | 6 | 6 | [10 empty] | Initial | Eq. Aq. | Eq. Solid | Kd
Method: PFAS_Li-Sun.m | [9 empty] | Blank correction | [6 empty] | 2nd | Blank correction | (Instr.+Derivat.) | Apply on area | [6 empty] | Added Vol. | 8 | 16 | 8 | [10 empty] | Soil 1 | 5.5305 | 2.7878 | 0.50408
Injection vol. 1ul | [12 empty] | Mean |  |  |  | 3rd | Sample Blk correction | (Background) | Apply on conc. | Max or Mean of Blank???? | [5 empty] | Total Vol | 16 | 22 | 14 | [10 empty] | Soil 2 | 0.89782 | 3.4807 | 3.8768
|  | m/z 525 |  | m/z 526 |  | m/z 293 |  | 525/526 |  | Calibration Standards | Original | Instr. Drift | Blank (mean) |  |  |  | 4th | Extraction Dilution | [5 empty] | Max |  |  | Corr. Factor | 2 | 3.6667 | 2.3333 | [10 empty] | Soil 3 | 4.2538 | 2.4739 | 0.58156
Run no. | Sample ID | SIM_525 | SIM_525_auto | SIM_526 | SIM_526_auto | SIM_293 | SIM_293_auto | (auto/auto) | 2021-07-21 | GC-MS measurement | Area | Correction | Correction | Init. Conc. Aq. | Init. Mass Aq. | Conc. n-Hex |  |  |  |  | Mean | Calibration |  | Mean |  | in Extract |  | Extract Correct | [5 empty] | Sorption |  | Sorption
1 | PE_C_PFAS_19.07_10_Blk.1 | 0 | 0 | 0 | 0 | 0 | 38264 |  | Run no. |  | SIM_525_auto | SIM_525_auto | SIM_525_auto | PFOA [ppm] | PFOA [ug] | PFOA [ppm] |  |  | Original | Drift Correction | Blank Correct | Correted for |  | Sample Blk correct |  | Solution |  | Orig. Aq. Conc. |  | Aq. Mass |  | Initial |  | Calibr. A) |  | Calibr. B) |  | C_s/C_w
2 | PE_C_PFAS_19.07_10_Blk.2 | 0 | 0 | 0 | 0 | 0 | 65110 |  | 1 | PE_C_PFAS_19.07_10_Blk.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2021-07-21 | Samples | Area | Area | Area | A) Drift | B) Drift+Blk | Calibr. A) | Calibr. B) | Calibr. A) | Calibr. B) | Calibr. A) | Calibr. B) | Calibr. A) | Calibr. B) | Conc. |  | Mass | Conc | Mass | Conc | Calibr. A) | Calibr. B)
3 | PE_C_PFAS_19.07_1_C_Std_1.1 | 147234 | 147234 | 0 | 22235 | 116897 | 119732 | 6.6217 | 2 | PE_C_PFAS_19.07_10_Blk.2 | 0 | 0 | 0 | 0 | 0 | 0 | Run no. | GC-MS meas | SIM_525_auto | SIM_525_auto | SIM_525_auto | n-hex [ppm] | n-hex [ppm] |  |  | PFOA [ppm] | PFOA [ppm] | PFOA [ppm] | PFOA [ppm] | PFOA [µg] | PFOA [µg] | PFOA [ppm] | PFOA [µg] | PFOA [µg] | PFOA [ppm] | PFOA [µg] | PFOA [ppm] | K_d [L/kg] | K_d [L/kg] |  | Calibration B)
4 | PE_C_PFAS_19.07_1_C_Std_1.2 | 165600 | 166507 | 0 | 25684 | 195703 | 193499 | 6.4829 | 3 | PE_C_PFAS_19.07_1_C_Std_1.1 | 147234 | 140126.156 | 133695.9196 | 0.05 | 0.25 | 0.25 | 1 | PE_C_PFAS_19.07_10_Blk.1 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  |  |  | Initial | Eq. Aq. | Eq. Solid | Kd
5 | PE_C_PFAS_19.07_2_C_Std_2.1 | 1032350 | 1029277 | 158172 | 158675 | 189035 | 189035 | 6.4867 | 4 | PE_C_PFAS_19.07_1_C_Std_1.2 | 166507 | 155959.0515 | 149528.8151 | 0.05 | 0.25 | 0.25 | 2 | PE_C_PFAS_19.07_10_Blk.2 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  |  |  | Soil 1 | 5.5605 | 2.7758 | 0.4992
6 | PE_C_PFAS_19.07_2_C_Std_2.2 | 1133164 | 1130208 | 173081 | 174886 | 129087 | 130713 | 6.4625 | 5 | PE_C_PFAS_19.07_2_C_Std_2.1 | 1029277 | 949043.8729 | 942613.6365 | 0.5 | 2.5 | 2.5 | 9 | PE_C_PFAS_19.07_10_Blk.3 | 29635 | 25720.9455 | 19290.7092 | -0.031948 | -0.022917 |  |  | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  |  |  | Soil 2 | 1.3678 | 3.3397 | 2.4416
7 | PE_C_PFAS_19.07_3_C_Std_3.1 | 1925128 | 1922078 | 293388 | 294101 | 0 | 55934 | 6.5354 | 6 | PE_C_PFAS_19.07_2_C_Std_2.2 | 1130208 | 1026109.9543 | 1019679.7179 | 0.5 | 2.5 | 2.5 | 10 | PE_C_PFAS_19.07_4_1.1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Soil 3 | 4.6148 | 2.3656 | 0.5126
8 | PE_C_PFAS_19.07_3_C_Std_3.2 | 2193130 | 2188019 | 335306 | 335306 | 0 | 70546 | 6.5254 | 7 | PE_C_PFAS_19.07_3_C_Std_3.1 | 1922078 | 1718661.6525 | 1712231.4161 | 1 | 5 | 5 | 11 | PE_C_PFAS_19.07_4_1.1.2 | 23045 | 19431.0203 | 13000.7839 | -0.049253 | -0.040258 | -0.049253 | -0.040258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | PE_C_PFAS_19.07_10_Blk.3 | 0 | 29635 | 0 | 0 | 0 | 43590 |  | 8 | PE_C_PFAS_19.07_3_C_Std_3.2 | 2188019 | 1927319.0086 | 1920888.7722 | 1 | 5 | 5 | 12 | PE_C_PFAS_19.07_5_1.2.1 | 1361265 | 1131654.1565 | 1125223.9201 | 3.0107 | 3.0262 | 3.0107 | 3.0262 | 3.0107 | 3.0262 | 6.0214 | 6.0524 | 48.1711 | 48.4196 | 12.5 | 100 | 51.8289 | 2.5914 | 51.5804 | 2.579 | 0.43037 | 0.42611
10 | PE_C_PFAS_19.07_4_1.1.1 | 0 | 0 | 0 | 0 | 0 | 65196 |  | 9 | PE_C_PFAS_19.07_10_Blk.3 | 29635 | 25720.9455 | 19290.7092 | 0 | 0 | 0 | 13 | PE_C_PFAS_19.07_5_1.2.2 | 974234 | 798679.0531 | 792248.8167 | 2.0946 | 2.1082 | 2.0946 | 2.1082 | 2.0946 | 2.1082 | 4.1892 | 4.2164 | 33.5138 | 33.731 | 12.5 | 100 | 66.4862 | 3.3243 | 66.269 | 3.3135 | 0.79354 | 0.78585
11 | PE_C_PFAS_19.07_4_1.1.2 | 0 | 23045 | 0 | 0 | 123905 | 123905 |  | 20 | PE_C_PFAS_19.07_10_Blk.4 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | PE_C_PFAS_19.07_6_1.3.1 | 1251788 | 1012188.0753 | 1005757.8389 | 2.682 | 2.6968 | 2.682 | 2.6968 | 2.682 | 2.6968 | 5.364 | 5.3937 | 42.9123 | 43.1495 | 12.5 | 100 | 57.0877 | 2.8544 | 56.8505 | 2.8425 | 0.53213 | 0.52701
12 | PE_C_PFAS_19.07_5_1.2.1 | 1361993 | 1361265 | 207743 | 207955 | 98959 | 99791 | 6.546 | [8 empty] | 15 | PE_C_PFAS_19.07_6_1.3.2 | 1536717 | 1225820.6535 | 1219390.4171 | 3.2698 | 3.2858 | 3.2698 | 3.2858 | 3.2698 | 3.2858 | 6.5395 | 6.5717 | 52.3162 | 52.5735 | 12.5 | 100 | 47.6838 | 2.3842 | 47.4265 | 2.3713 | 0.36458 | 0.36084 |  | A) | B)
13 | PE_C_PFAS_19.07_5_1.2.2 | 977365 | 974234 | 150703 | 150703 | 151298 | 159019 | 6.4646 | [8 empty] | 16 | PE_C_PFAS_19.07_7_1.4.1 | 1551785 | 1221367.0651 | 1214936.8287 | 3.2575 | 3.2736 | 3.2575 | 3.2736 | 3.2575 | 3.2736 | 6.515 | 6.5471 | 52.1202 | 52.3771 | 12.5 | 100 | 47.8798 | 2.394 | 47.6229 | 2.3811 | 0.36746 | 0.36369 | Mean | 0.53101 | 0.5258
14 | PE_C_PFAS_19.07_6_1.3.1 | 1252674 | 1251788 | 191165 | 191165 | 92829 | 92829 | 6.5482 | 2021-07-23 |  |  | here log-drift |  |  |  |  | 17 | PE_C_PFAS_19.07_7_1.4.2 | 1113566 | 864946.3206 | 858516.0842 | 2.2769 | 2.2909 | 2.2769 | 2.2909 | 2.2769 | 2.2909 | 4.5539 | 4.5818 | 36.4308 | 36.6542 | 12.5 | 100 | 63.5692 | 3.1785 | 63.3458 | 3.1673 | 0.69797 | 0.69128 | S.D | 0.17965 | 0.17801
15 | PE_C_PFAS_19.07_6_1.3.2 | 1540315 | 1536717 | 229657 | 231656 | 114641 | 115192 | 6.6336 | Run no. |  |  | correct. Possible |  |  |  |  | 18 | PE_C_PFAS_19.07_8_2.1.1 | 12974 | 9946.7348 | 3516.4984 | -0.075346 | -0.066407 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | RSD | 33.8322 | 33.8556
16 | PE_C_PFAS_19.07_7_1.4.1 | 1558261 | 1551785 | 239233 | 240273 | 211160 | 211160 | 6.4584 | 1 | PE_C_PFAS_22.07_11_Blk.1 | 49515 | 45520.4311 | 0 | 0 | 0 | 0 | 19 | PE_C_PFAS_19.07_8_2.1.2 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | PE_C_PFAS_19.07_7_1.4.2 | 1113566 | 1113566 | 170663 | 170663 | 160474 | 160474 | 6.5249 | 2 | PE_C_PFAS_22.07_11_Blk.2 | 39546 | 33641.6646 | 0 | 0 | 0 | 0 | 20 | PE_C_PFAS_19.07_10_Blk.4 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
18 | PE_C_PFAS_19.07_8_2.1.1 | 0 | 12974 | 0 | 0 | 102334 | 104145 |  | 3 | PE_C_PFAS_22.07_1_C_Std_1.1 | 347976 | 275458.7436 | 171855.0361 | 0.05 | 0.25 | 0.25 | 21 | PE_C_PFAS_19.07_9_2.2.1_trial | 742462 | 547913.2242 | 541482.9878 | 1.4047 | 1.4168 | 1.4047 | 1.4168 | 1.4047 | 1.4168 | 5.1506 | 5.195 | 30.9035 | 31.1697 | 12.5 | 75 | 44.0965 | 2.2048 | 43.8303 | 2.1915 | 0.42807 | 0.42185
19 | PE_C_PFAS_19.07_8_2.1.2 | 0 | 0 | 0 | 0 | 100756 | 101240 |  | 4 | PE_C_PFAS_22.07_1_C_Std_1.2 | 403080 | 298353.8415 | 194750.134 | 0.05 | 0.25 | 0.25 | 22 | PE_C_PFAS_19.07_9_2.2.2_trial | 364151 | 265419.9644 | 258989.728 | 0.62751 | 0.63795 | 0.62751 | 0.63795 | 0.62751 | 0.63795 | 2.3009 | 2.3392 | 13.8052 | 14.0349 | 12.5 | 75 | 61.1948 | 3.0597 | 60.9651 | 3.0483 | 1.3298 | 1.3031
20 | PE_C_PFAS_19.07_10_Blk.4 | 0 | 0 | 0 | 0 | 0 | 77347 |  | 5 | PE_C_PFAS_22.07_2_C_Std_2.1 | 2875301 | 1998448.5441 | 1894844.8366 | 0.5 | 2.5 | 2.5
21 | PE_C_PFAS_19.07_9_2.2.1_trial | 740297 | 742462 | 0 | 114091 | 171232 | 171232 | 6.5076 | 6 | PE_C_PFAS_22.07_2_C_Std_2.2 | 2022114 | 1324656.1588 | 1221052.4513 | 0.5 | 2.5 | 2.5 | 2021-07-23
22 | PE_C_PFAS_19.07_9_2.2.2_trial | 362102 | 364151 | 0 | 52295 | 0 | 63720 | 6.9634 | 7 | PE_C_PFAS_22.07_3_C_Std_3.1 | 4934383 | 3056721.0769 | 2953117.3694 | 1 | 5 | 5 | Run no.
[9 empty] | 8 | PE_C_PFAS_22.07_3_C_Std_3.2 | 4628932 | 2719659.1087 | 2616055.4012 | 1 | 5 | 5 | 1 | PE_C_PFAS_22.07_11_Blk.1 | 49515 | 49142.7338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0
[9 empty] | 9 | PE_C_PFAS_22.07_11_Blk.3 | 545084 | 304553.6553 | 200949.9478 | 0 | 0 | 0 | 2 | PE_C_PFAS_22.07_11_Blk.2 | 39546 | 38955.8037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0
23.07.21 GC-MS Measurement | [8 empty] | 20 | PE_C_PFAS_22.07_11_Blk.4 | 84578 | 30699.079 | 0 | 0 | 0 | 0 | 9 | PE_C_PFAS_22.07_11_Blk.3 | 545084 | 510293.785 | 342333.1988 | 0.36438 | 0.49784 | 0.36438 | 0.49784 | 0.36438 | 0.49784 |  |  |  |  | 0 |  | 0 | 0 | 0 | 0
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 22.07.21 | [16 empty] | 10 | PE_C_PFAS_22.07_4_2.2.1 | 411605 | 382620.7019 | 214660.1157 | 0.13725 | 0.2674 | 0.13725 | 0.2674 | 0.13725 | 0.2674 | 0.50325 | 0.98047 | 3.0195 | 5.8828 | 12.5 | 75 | 71.9805 | 3.599 | 69.1172 | 3.4559 | 7.1516 | 3.5247
Method: PFAS_Li-Sun.m | [16 empty] | 11 | PE_C_PFAS_22.07_4_2.2.2 | 764937 | 706099.6623 | 538139.0762 | 0.71273 | 0.85126 | 0.71273 | 0.85126 | 0.71273 | 0.85126 | 2.6133 | 3.1213 | 15.68 | 18.7278 | 12.5 | 75 | 59.32 | 2.966 | 56.2722 | 2.8136 | 1.1349 | 0.90142
Injection vol. 1ul | [16 empty] | 12 | PE_C_PFAS_22.07_5_2.3.1 | 380956 | 349211.7937 | 181251.2076 | 0.077813 | 0.2071 | 0.077813 | 0.2071 | 0.077813 | 0.2071 | 0.28532 | 0.75937 | 1.7119 | 4.5562 | 12.5 | 75 | 73.2881 | 3.6644 | 70.4438 | 3.5222 | 12.8433 | 4.6383
|  | m/z 525 |  | m/z 526 |  | m/z 293 |  | 525/526 | [8 empty] | 13 | PE_C_PFAS_22.07_5_2.3.2 | 322616 | 293693.7315 | 125733.1453 | -0.020955 | 0.10689 | -0.020955 | 0.10689 | 0 | 0.10689 | 0 | 0.39194 | 0 | 2.3517 | 12.5 | 75 | 75 | 3.75 | 72.6483 | 3.6324 |  | 9.2677 |  | A) | B)
Run no. | Sample ID | SIM_525 | SIM_525_auto | SIM_526 | SIM_526_auto | SIM_293 | SIM_293_auto | (auto/auto) | [8 empty] | 14 | PE_C_PFAS_22.07_6_2.4.1 | 435019 | 393307.6059 | 225347.0198 | 0.15626 | 0.28669 | 0.15626 | 0.28669 | 0.15626 | 0.28669 | 0.57296 | 1.0512 | 3.4377 | 6.3072 | 12.5 | 75 | 71.5623 | 3.5781 | 68.6928 | 3.4346 | 6.245 | 3.2674 | Mean | 5.9461 | 3.8784
1 | PE_C_PFAS_22.07_11_Blk.1 | 0 | 49515 | 0 | 0 | 297809 | 297809 | [9 empty] | 15 | PE_C_PFAS_22.07_6_2.4.2 | 581254 | 521946.2602 | 353985.6741 | 0.38511 | 0.51888 | 0.38511 | 0.51888 | 0.38511 | 0.51888 | 1.4121 | 1.9025 | 8.4725 | 11.4153 | 12.5 | 75 | 66.5275 | 3.3264 | 63.5847 | 3.1792 | 2.3556 | 1.671 | S.D | 4.6139 | 2.9616
2 | PE_C_PFAS_22.07_11_Blk.2 | 0 | 39546 | 0 | 0 | 515182 | 510487 | [9 empty] | 16 | PE_C_PFAS_22.07_7_3.1.1 | 19244 | 17163.7032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | RSD | 77.5957 | 76.3613
3 | PE_C_PFAS_22.07_1_C_Std_1.1 | 347718 | 347976 | 0 | 51489 | 977825 | 977825 | 6.7583 | [8 empty] | 17 | PE_C_PFAS_22.07_7_3.1.2 | 17486 | 15491.0822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | PE_C_PFAS_22.07_1_C_Std_1.2 | 402171 | 403080 | 0 | 62620 | 274808 | 274808 | 6.4369 | [8 empty] | 18 | PE_C_PFAS_22.07_8_3.2.1 | 1560896 | 1373600.5279 | 1205639.9418 | 1.9002 | 2.0561 | 1.9002 | 2.0561 | 1.9002 | 2.0561 | 4.4339 | 4.7975 | 26.6033 | 28.7849 | 12.5 | 75 | 48.3967 | 2.4198 | 46.2151 | 2.3108 | 0.54576 | 0.48166
5 | PE_C_PFAS_22.07_2_C_Std_2.1 | 2884696 | 2875301 | 434846 | 434846 | 276015 | 276015 | 6.6122 | [8 empty] | 19 | PE_C_PFAS_22.07_8_3.2.2 | 1911200 | 1670733.2466 | 1502772.6604 | 2.4288 | 2.5924 | 2.4288 | 2.5924 | 2.4288 | 2.5924 | 5.6673 | 6.0489 | 34.0038 | 36.2932 | 12.5 | 75 | 40.9962 | 2.0498 | 38.7068 | 1.9353 | 0.36169 | 0.31995
6 | PE_C_PFAS_22.07_2_C_Std_2.2 | 2026440 | 2022114 | 312340 | 312340 | 534860 | 534221 | 6.4741 | [8 empty] | 20 | PE_C_PFAS_22.07_11_Blk.4 | 84578 | 73450.0222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | PE_C_PFAS_22.07_3_C_Std_3.1 | 4948429 | 4934383 | 750177 | 750177 | 552323 | 552323 | 6.5776 | [8 empty] | 21 | PE_C_PFAS_22.07_9_3.3.1 | 1485173 | 1281338.5802 | 1113377.9941 | 1.7361 | 1.8895 | 1.7361 | 1.8895 | 1.7361 | 1.8895 | 4.0509 | 4.4089 | 24.3054 | 26.4535 | 12.5 | 75 | 50.6946 | 2.5347 | 48.5465 | 2.4273 | 0.62572 | 0.55055
8 | PE_C_PFAS_22.07_3_C_Std_3.2 | 4638103 | 4628932 | 701083 | 701083 | 843229 | 842853 | 6.6025 | [8 empty] | 22 | PE_C_PFAS_22.07_9_3.3.2 | 1728790 | 1481835.473 | 1313874.8868 | 2.0928 | 2.2514 | 2.0928 | 2.2514 | 2.0928 | 2.2514 | 4.8832 | 5.2533 | 29.2991 | 31.5199 | 12.5 | 75 | 45.7009 | 2.285 | 43.4801 | 2.174 | 0.46794 | 0.41383 |  | A) | B)
9 | PE_C_PFAS_22.07_11_Blk.3 | 542945 | 545084 | 0 | 82610 | 923140 | 918832 | 6.5983 | [8 empty] | 23 | PE_C_PFAS_22.07_10_3.4.1 | 1355616 | 1154472.5988 | 986512.0126 | 1.5104 | 1.6606 | 1.5104 | 1.6606 | 1.5104 | 1.6606 | 3.5243 | 3.8746 | 21.1456 | 23.2477 | 12.5 | 75 | 53.8544 | 2.6927 | 51.7523 | 2.5876 | 0.76405 | 0.66784 | Mean | 0.62177 | 0.54471
10 | PE_C_PFAS_22.07_4_2.2.1 | 408598 | 411605 | 0 | 62234 | 755962 | 751169 | 6.6138 | [8 empty] | 24 | PE_C_PFAS_22.07_10_3.4.2 | 1204691 | 1019365.3858 | 851404.7996 | 1.27 | 1.4167 | 1.27 | 1.4167 | 1.27 | 1.4167 | 2.9634 | 3.3056 | 17.7806 | 19.8337 | 12.5 | 75 | 57.2194 | 2.861 | 55.1663 | 2.7583 | 0.96543 | 0.83443 | S.D | 0.217 | 0.1848
11 | PE_C_PFAS_22.07_4_2.2.2 | 764937 | 764937 | 0 | 114769 | 444853 | 444853 | 6.665 | [31 empty] | RSD | 34.9004 | 33.9263
12 | PE_C_PFAS_22.07_5_2.3.1 | 379764 | 380956 | 0 | 55853 | 684842 | 684304 | 6.8207
13 | PE_C_PFAS_22.07_5_2.3.2 | 320750 | 322616 | 0 | 48005 | 379132 | 379132 | 6.7205
14 | PE_C_PFAS_22.07_6_2.4.1 | 435019 | 435019 | 0 | 65597 | 705590 | 705590 | 6.6317
15 | PE_C_PFAS_22.07_6_2.4.2 | 580435 | 581254 | 0 | 87729 | 378974 | 378974 | 6.6256
16 | PE_C_PFAS_22.07_7_3.1.1 | 0 | 19244 | 0 | 0 | 554397 | 553196
17 | PE_C_PFAS_22.07_7_3.1.2 | 0 | 17486 | 0 | 0 | 391786 | 391786
18 | PE_C_PFAS_22.07_8_3.2.1 | 1565204 | 1560896 | 235608 | 236756 | 943081 | 943081 | 6.5928
19 | PE_C_PFAS_22.07_8_3.2.2 | 1915049 | 1911200 | 289107 | 289107 | 493965 | 493965 | 6.6107
20 | PE_C_PFAS_22.07_11_Blk.4 | 0 | 84578 | 0 | 12501 | 1278350 | 1272967 | 6.7657
21 | PE_C_PFAS_22.07_9_3.3.1 | 1488547 | 1485173 | 0 | 225956 | 956299 | 963316 | 6.5728
22 | PE_C_PFAS_22.07_9_3.3.2 | 1731437 | 1728790 | 260819 | 260819 | 753380 | 753380 | 6.6283
23 | PE_C_PFAS_22.07_10_3.4.1 | 1357431 | 1355616 | 202123 | 202123 | 356445 | 356297 | 6.7069
24 | PE_C_PFAS_22.07_10_3.4.2 | 1209075 | 1204691 | 184788 | 184788 | 278183 | 278183 | 6.5193

## Tabelle1
[5 empty] | Further corrections to apply | A) Blank correction | [9 empty] | Extraction | Soil 1 | Soil 2 | Soil 3
[6 empty] | B) Instrumental trend correction | [9 empty] | Vol. added | 8 | 16 | 8
[6 empty] | C) Int. Std. correction? | [9 empty] | Vol. original | 8 | 6 | 6
[5 empty] | Further calibration approach | I) Int. Std. Calibration | [9 empty] | Vol. total | 16 | 22 | 14
[16 empty] | Corr. Fact. | 2 | 3.6667 | 2.3333
21.07.21 GC-MS Measurement | [18 empty] | w/o extraction dilution correction |  | Soil mass [g] | 20 | [6 empty] | w/o extraction dilution correction |  | Soil mass [g] | 20
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 19.07.21 |  |  |  |  | Assumption | Neglection of Vapourization and loss to labware |  |  |  |  | Samples |  |  |  | "All"-Calibration |  | Before Filtr. |  | Corr. Fact. | 1 | [5 empty] | "Corrected"-Calibration |  | Before Filtr. |  | Corr. Fact. | 1
Method: PFAS_Li-Sun.m |  |  |  |  | Excluded in corrected series | [6 empty] | Area | Init. Conc. Aq. | Init. Mass Aq. | Calc Conc | in Extract. | Extract. | Extract | Correct. Dil. From Extract |  | Sorbed |  | K_d |  |  | Calc Conc | in Extract. | Extract. |  |  |  | Sorbed |  | K_d
Injection vol. 1ul | [10 empty] | Individual GC-MS measurements | SIM_525_auto | PFOA [ppm] | PFOA [ug] | n-Hex [ppm] | sol aq. [ppm] | vol [ml] | Mass aq [ug] |  | mass aq [ug] | Mass [ug] | Conc [ppm] | C_s/C_aq |  |  | n-Hex [ppm] | sol aq. [ppm] | vol [ml] | Mass aq [ug] |  | mass aq [ug] | Mass [ug] | Conc [ppm] | C_s/C_aq
|  | m/z 525 |  |  | Calibration Standards | Area | Init. Conc. Aq. | Init. Mass Aq. | Conc. n-Hex | 2021-07-21 | PE_C_PFAS_19.07_4_1.1.1 | 0 | 0 | 0 | -0.06787 | 0 | 7.9 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 7.9 | 0 |  | 0 | 0 | 0
Run no. | Sample ID | SIM_525 | SIM_525_auto |  | GC-MS meas | SIM_525_auto | PFOA [ppm] | PFOA [ug] | PFOA [ppm] |  | PE_C_PFAS_19.07_4_1.1.2 | 23045 | 0 | 0 | -0.01149 | 0 | 7.9 | 0 |  | 0 | 0 | 0 |  |  |  | 0.055448 | 0.055448 | 7.9 | 0.43804 |  | 0.88718 | -0.88718 | 0
1 | PE_C_PFAS_19.07_10_Blk.1 | 0 | 0 | 2021-07-21 | PE_C_PFAS_19.07_10_Blk.1 | 0 | 0 | 0 | 0 |  | PE_C_PFAS_19.07_5_1.2.1 | 1361265 | 12.5 | 100 | 3.2625 | 3.2625 | 7.8 | 25.4474 |  | 52.1998 | 47.8002 | 2.39 | 0.73257 |  |  | 3.2753 | 3.2753 | 7.8 | 25.5476 |  | 52.4054 | 47.5946 | 2.3797 | 0.72656
2 | PE_C_PFAS_19.07_10_Blk.2 | 0 | 0 |  | PE_C_PFAS_19.07_10_Blk.2 | 0 | 0 | 0 | 0 |  | PE_C_PFAS_19.07_5_1.2.2 | 974234 | 12.5 | 100 | 2.3156 | 2.3156 | 7.8 | 18.0617 |  | 37.0497 | 62.9503 | 3.1475 | 1.3593 |  |  | 2.3441 | 2.3441 | 7.8 | 18.284 |  | 37.5056 | 62.4944 | 3.1247 | 1.333
3 | PE_C_PFAS_19.07_1_C_Std_1.1 | 147234 | 147234 |  | PE_C_PFAS_19.07_1_C_Std_1.1 | 147234 | 0.05 | 0.25 | 0.25 |  | PE_C_PFAS_19.07_6_1.3.1 | 1251788 | 12.5 | 100 | 2.9946 | 2.9946 | 7.9 | 23.6577 |  | 47.9144 | 52.0856 | 2.6043 | 0.86965 |  |  | 3.0119 | 3.0119 | 7.9 | 23.7942 |  | 48.1908 | 51.8092 | 2.5905 | 0.86007
4 | PE_C_PFAS_19.07_1_C_Std_1.2 | 165600 | 166507 |  | PE_C_PFAS_19.07_1_C_Std_1.2 | 166507 | 0.05 | 0.25 | 0.25 |  | PE_C_PFAS_19.07_6_1.3.2 | 1536717 | 12.5 | 100 | 3.6917 | 3.6917 | 7.9 | 29.1647 |  | 59.0677 | 40.9323 | 2.0466 | 0.55438 |  |  | 3.6975 | 3.6975 | 7.9 | 29.2102 |  | 59.1598 | 40.8402 | 2.042 | 0.55227
5 | PE_C_PFAS_19.07_2_C_Std_2.1 | 1032350 | 1029277 |  | PE_C_PFAS_19.07_2_C_Std_2.1 | 1029277 | 0.5 | 2.5 | 2.5 |  | PE_C_PFAS_19.07_7_1.4.1 | 1551785 | 12.5 | 100 | 3.7286 | 3.7286 | 7.9 | 29.4559 |  | 59.6575 | 40.3425 | 2.0171 | 0.54099 | Mean | Std.Dev. | 3.7337 | 3.7337 | 7.9 | 29.4966 |  | 59.7399 | 40.2601 | 2.013 | 0.53914 | Mean | Std.Dev.
6 | PE_C_PFAS_19.07_2_C_Std_2.2 | 1133164 | 1130208 |  | PE_C_PFAS_19.07_2_C_Std_2.2 | 1130208 | 0.5 | 2.5 | 2.5 |  | PE_C_PFAS_19.07_7_1.4.2 | 1113566 | 12.5 | 100 | 2.6565 | 2.6565 | 7.9 | 20.9862 |  | 42.5038 | 57.4962 | 2.8748 | 1.0822 | 0.85651 | 0.31939 | 2.6793 | 2.6793 | 7.9 | 21.1668 |  | 42.8696 | 57.1304 | 2.8565 | 1.0661 | 0.8462 | 0.31001
7 | PE_C_PFAS_19.07_3_C_Std_3.1 | 1925128 | 1922078 |  | PE_C_PFAS_19.07_3_C_Std_3.1 | 1922078 | 1 | 5 | 5 |  | PE_C_PFAS_19.07_8_2.1.1 | 12974 | 0 | 0 | -0.036129 | 0 | 7.1 | 0 |  | 0 | 0 | 0 |  |  |  | 0.031217 | 0.031217 | 7.1 | 0.22164 |  | 0.68677 | -0.68677 | 0 | 0
8 | PE_C_PFAS_19.07_3_C_Std_3.2 | 2193130 | 2188019 |  | PE_C_PFAS_19.07_3_C_Std_3.2 | 2188019 | 1 | 5 | 5 |  | PE_C_PFAS_19.07_8_2.1.2 | 0 | 0 | 0 | -0.06787 | 0 | 7.1 | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 7.1 | 0 |  | 0 | 0 | 0
9 | PE_C_PFAS_19.07_10_Blk.3 | 0 | 29635 |  | PE_C_PFAS_19.07_10_Blk.3 | 29635 | 0 | 0 | 0 |  | PE_C_PFAS_19.07_9_2.2.1_trial | 742462 | 12.5 | 75 | 1.7486 | 1.7486 | 8.7 | 15.2126 |  | 38.4686 | 36.5314 | 1.8266 | 1.0446 |  |  | 1.7864 | 1.7864 | 8.7 | 15.542 |  | 39.3016 | 35.6984 | 1.7849 | 0.99915
10 | PE_C_PFAS_19.07_4_1.1.1 | 0 | 0 |  | PE_C_PFAS_19.07_10_Blk.4 | 0 | 0 | 0 | 0 |  | PE_C_PFAS_19.07_9_2.2.2_trial | 364151 | 12.5 | 75 | 0.82303 | 0.82303 | 8.7 | 7.1604 |  | 18.1067 | 56.8933 | 2.8447 | 3.4563 |  |  | 0.87618 | 0.87618 | 8.7 | 7.6228 |  | 19.276 | 55.724 | 2.7862 | 3.1799
11 | PE_C_PFAS_19.07_4_1.1.2 | 0 | 23045
12 | PE_C_PFAS_19.07_5_1.2.1 | 1361993 | 1361265
13 | PE_C_PFAS_19.07_5_1.2.2 | 977365 | 974234 | 2021-07-23 | PE_C_PFAS_22.07_11_Blk.1 | 49515 | 0 | 0 | 0 | 2021-07-23 | PE_C_PFAS_22.07_4_2.2.1 | 411605 | 12.5 | 75 | 0.26739 | 0.26739 | 8.7 | 2.3263 |  | 5.8827 | 69.1173 | 3.4559 | 12.9243 |  |  | 0.42785 | 0.42785 | 8.7 | 3.7223 |  | 9.4126 | 65.5874 | 3.2794 | 7.6649
14 | PE_C_PFAS_19.07_6_1.3.1 | 1252674 | 1251788 |  | PE_C_PFAS_22.07_11_Blk.2 | 39546 | 0 | 0 | 0 |  | PE_C_PFAS_22.07_4_2.2.2 | 764937 | 12.5 | 75 | 0.65098 | 0.65098 | 8.7 | 5.6635 |  | 14.3216 | 60.6784 | 3.0339 | 4.6605 |  |  | 0.79512 | 0.79512 | 8.7 | 6.9175 |  | 17.4926 | 57.5074 | 2.8754 | 3.6163
15 | PE_C_PFAS_19.07_6_1.3.2 | 1540315 | 1536717 |  | PE_C_PFAS_22.07_1_C_Std_1.1 | 347976 | 0.05 | 0.25 | 0.25 |  | PE_C_PFAS_22.07_5_2.3.1 | 380956 | 12.5 | 75 | 0.23412 | 0.23412 | 7.3 | 1.7091 |  | 5.1507 | 69.8493 | 3.4925 | 14.9174 |  |  | 0.39599 | 0.39599 | 7.3 | 2.8907 |  | 8.7117 | 66.2883 | 3.3144 | 8.37
16 | PE_C_PFAS_19.07_7_1.4.1 | 1558261 | 1551785 |  | PE_C_PFAS_22.07_1_C_Std_1.2 | 403080 | 0.05 | 0.25 | 0.25 |  | PE_C_PFAS_22.07_5_2.3.2 | 322616 | 12.5 | 75 | 0.17079 | 0.17079 | 7.3 | 1.2467 |  | 3.7573 | 71.2427 | 3.5621 | 20.8574 |  |  | 0.33535 | 0.33535 | 7.3 | 2.448 |  | 7.3776 | 67.6224 | 3.3811 | 10.0825
17 | PE_C_PFAS_19.07_7_1.4.2 | 1113566 | 1113566 |  | PE_C_PFAS_22.07_2_C_Std_2.1 | 2875301 | 0.5 | 2.5 | 2.5 |  | PE_C_PFAS_22.07_6_2.4.1 | 435019 | 12.5 | 75 | 0.29281 | 0.29281 | 7.4 | 2.1668 |  | 6.4419 | 68.5581 | 3.4279 | 11.7068 | Mean | Std.Dev. | 0.45218 | 0.45218 | 7.4 | 3.3462 |  | 9.948 | 65.052 | 3.2526 | 7.1931 | Mean | Std.Dev.
18 | PE_C_PFAS_19.07_8_2.1.1 | 0 | 12974 |  | PE_C_PFAS_22.07_2_C_Std_2.2 | 2022114 | 0.5 | 2.5 | 2.5 |  | PE_C_PFAS_22.07_6_2.4.2 | 581254 | 12.5 | 75 | 0.45157 | 0.45157 | 7.4 | 3.3416 |  | 9.9345 | 65.0655 | 3.2533 | 7.2044 | 12.0451 | 5.7403 | 0.60419 | 0.60419 | 7.4 | 4.471 |  | 13.2921 | 61.7079 | 3.0854 | 5.1067 | 7.0056 | 2.3191
19 | PE_C_PFAS_19.07_8_2.1.2 | 0 | 0 |  | PE_C_PFAS_22.07_3_C_Std_3.1 | 4934383 | 1 | 5 | 5 |  | PE_C_PFAS_22.07_7_3.1.1 | 19244 | 0 | 0 | -0.15856 | 0 | 8 | 0 |  | 0 | 0 | 0 |  |  |  | 0.020003 | 0.020003 | 8 | 0.16003 |  | 0.28005 | -0.28005 | 0 | 0
20 | PE_C_PFAS_19.07_10_Blk.4 | 0 | 0 |  | PE_C_PFAS_22.07_3_C_Std_3.2 | 4628932 | 1 | 5 | 5 |  | PE_C_PFAS_22.07_7_3.1.2 | 17486 | 0 | 0 | -0.16047 | 0 | 8 | 0 |  | 0 | 0 | 0 |  |  |  | 0.018176 | 0.018176 | 8 | 0.14541 |  | 0.25446 | -0.25446 | 0 | 0
21 | PE_C_PFAS_19.07_9_2.2.1_trial | 740297 | 742462 |  | PE_C_PFAS_22.07_11_Blk.3 | 545084 | 0 | 0 | 0 |  | PE_C_PFAS_22.07_8_3.2.1 | 1560896 | 12.5 | 75 | 1.5151 | 1.5151 | 7.1 | 10.7572 |  | 21.2113 | 53.7887 | 2.6894 | 1.7751 |  |  | 1.6225 | 1.6225 | 7.1 | 11.5196 |  | 22.7148 | 52.2852 | 2.6143 | 1.6113
22 | PE_C_PFAS_19.07_9_2.2.2_trial | 362102 | 364151 |  | PE_C_PFAS_22.07_11_Blk.4 | 84578 | 0 | 0 | 0 |  | PE_C_PFAS_22.07_8_3.2.2 | 1911200 | 12.5 | 75 | 1.8954 | 1.8954 | 7.1 | 13.4573 |  | 26.5355 | 48.4645 | 2.4232 | 1.2785 |  |  | 1.9866 | 1.9866 | 7.1 | 14.1049 |  | 27.8125 | 47.1875 | 2.3594 | 1.1876
[11 empty] | PE_C_PFAS_22.07_9_3.3.1 | 1485173 | 12.5 | 75 | 1.4329 | 1.4329 | 7.2 | 10.3168 |  | 20.0604 | 54.9396 | 2.747 | 1.9171 |  |  | 1.5438 | 1.5438 | 7.2 | 11.1152 |  | 21.6128 | 53.3872 | 2.6694 | 1.7291
[11 empty] | PE_C_PFAS_22.07_9_3.3.2 | 1728790 | 12.5 | 75 | 1.6974 | 1.6974 | 7.2 | 12.221 |  | 23.7631 | 51.2369 | 2.5618 | 1.5093 |  |  | 1.797 | 1.797 | 7.2 | 12.9384 |  | 25.158 | 49.842 | 2.4921 | 1.3868
[11 empty] | PE_C_PFAS_22.07_10_3.4.1 | 1355616 | 12.5 | 75 | 1.2922 | 1.2922 | 7 | 9.0456 |  | 18.0913 | 56.9087 | 2.8454 | 2.2019 | Mean | Std.Dev. | 1.4091 | 1.4091 | 7 | 9.8637 |  | 19.7274 | 55.2726 | 2.7636 | 1.9613 | Mean | Std.Dev.
[11 empty] | PE_C_PFAS_22.07_10_3.4.2 | 1204691 | 12.5 | 75 | 1.1284 | 1.1284 | 7 | 7.8987 |  | 15.7974 | 59.2026 | 2.9601 | 2.6233 | 1.8842 | 0.48326 | 1.2522 | 1.2522 | 7 | 8.7656 |  | 17.5311 | 57.4689 | 2.8734 | 2.2947 | 1.6951 | 0.39776
23.07.21 GC-MS Measurement | [25 empty] | Measured Kd |  | Extract. Factor 1
PE_C from 09.07.21, Derivatization of PE_C_1.1 to PE_C_2.1, C_Std_1/2/3 and PostBlk 22.07.21 | [9 empty] | Idea: | From conc in n-hex to conc. Of extracted solution | [14 empty] | (Means) |  | Soil 1 | Soil 2 | Soil 3
Method: PFAS_Li-Sun.m | [10 empty] | Extract vol noted - presume water residing in soil after centrif. non-mobile | [14 empty] | Calibration | "All" | 0.85651 | 12.0451 | 1.8842
Injection vol. 1ul | [10 empty] | Therefore considered as solid phase | [12 empty] | K_d Mean |  |  | "Corrected" | 0.8462 | 7.0056 | 1.6951
|  | m/z 525 | [8 empty] | Or compute residual mass contam in soil after centrif with non-mobile pw (grainwater) and soil! | [10 empty] | PE-C_1-1 |  | 0
Run no. | Sample ID | SIM_525 | SIM_525_auto | [7 empty] | Thus, Mass balance | [10 empty] | PE-C_1-2 |  | 1.0459 |  | Theoret. Kd |  | Soil 1 | Soil 2 | Soil 3
1 | PE_C_PFAS_22.07_11_Blk.1 | 0 | 49515 | [7 empty] | Initial Mass = Mass(extracted solution) + Mass(residual solution + soil) | [10 empty] | PE-C_1-3 |  | 0.71201 |  | by K_oc | f_oc | 0.0285 | 0.0953 | 0.0082
2 | PE_C_PFAS_22.07_11_Blk.2 | 0 | 39546 | [7 empty] | Consider Mass(residual solution+Soil)=Sorbed?! | [10 empty] | PE-C_1-4 |  | 0.81159 |  | K_oc max. | 426.5795 | 12.1575 | 40.653 | 3.498 |  | 0.85651 | 0.8462
3 | PE_C_PFAS_22.07_1_C_Std_1.1 | 347718 | 347976 | [18 empty] | PE-C_2-1 |  | 0 |  | K_oc min. | 77.6247 | 2.2123 | 7.3976 | 0.63652 |  | 12.0451 | 7.0056
4 | PE_C_PFAS_22.07_1_C_Std_1.2 | 402171 | 403080 | [18 empty] | PE-C_2-2 |  | 8.7924 |  | K_oc mean | 252.1021 | 7.1849 | 24.0253 | 2.0672 |  | 1.8842 | 1.6951
5 | PE_C_PFAS_22.07_2_C_Std_2.1 | 2884696 | 2875301 | [18 empty] | PE-C_2-3 |  | 17.8874
6 | PE_C_PFAS_22.07_2_C_Std_2.2 | 2026440 | 2022114 | [18 empty] | PE-C_2-4 |  | 9.4556
7 | PE_C_PFAS_22.07_3_C_Std_3.1 | 4948429 | 4934383 | [18 empty] | PE-C_3-1 |  | 0
8 | PE_C_PFAS_22.07_3_C_Std_3.2 | 4638103 | 4628932 | [18 empty] | PE-C_3-2 |  | 1.5268
9 | PE_C_PFAS_22.07_11_Blk.3 | 542945 | 545084 | [18 empty] | PE-C_3-3 |  | 1.7132
10 | PE_C_PFAS_22.07_4_2.2.1 | 408598 | 411605 | [18 empty] | PE-C_3-4 |  | 2.4126
11 | PE_C_PFAS_22.07_4_2.2.2 | 764937 | 764937
12 | PE_C_PFAS_22.07_5_2.3.1 | 379764 | 380956
13 | PE_C_PFAS_22.07_5_2.3.2 | 320750 | 322616
14 | PE_C_PFAS_22.07_6_2.4.1 | 435019 | 435019
15 | PE_C_PFAS_22.07_6_2.4.2 | 580435 | 581254
16 | PE_C_PFAS_22.07_7_3.1.1 | 0 | 19244
17 | PE_C_PFAS_22.07_7_3.1.2 | 0 | 17486
18 | PE_C_PFAS_22.07_8_3.2.1 | 1565204 | 1560896
19 | PE_C_PFAS_22.07_8_3.2.2 | 1915049 | 1911200
20 | PE_C_PFAS_22.07_11_Blk.4 | 0 | 84578
21 | PE_C_PFAS_22.07_9_3.3.1 | 1488547 | 1485173
22 | PE_C_PFAS_22.07_9_3.3.2 | 1731437 | 1728790
23 | PE_C_PFAS_22.07_10_3.4.1 | 1357431 | 1355616
24 | PE_C_PFAS_22.07_10_3.4.2 | 1209075 | 1204691